## Luminescence 1_01
Measurement results
20200823 20+95 28+49 nuetralization.skax
8/23/2020 4:39:13 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 101900 | 122900 | 131300 | 150500 | 162600 | 144300 | 188800 | 195800 | 145900 | 136700 | 105300 | 162.6
B | 29650 | 209.5 | 4701 | 1280 | 23980 | 48310 | 96300 | 95370 | 113000 | 122400 | 110500 | 260.3
C | 18290 | 155 | 1395 | 2431 | 15990 | 58230 | 92670 | 105400 | 98040 | 116600 | 79270 | 141.6
D | 24280 | 69.69 | 148.7 | 2504 | 17870 | 42140 | 92870 | 102300 | 122300 | 101600 | 111900 | 228.3
E | 11260 | 2156 | 2111 | 9648 | 22640 | 57800 | 85060 | 104700 | 118600 | 104200 | 106900 | 231.3
F | 500.1 | 575.1 | 3489 | 4757 | 22290 | 57180 | 88970 | 107000 | 118600 | 101900 | 109200 | 189
G | 32.53 | 6577 | 1562 | 10210 | 29770 | 61090 | 117900 | 89330 | 105900 | 114700 | 116300 | 144.2
H
Sample | Hallie | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1:5 | VRC01 | VRC01 | VRC01 | VRC01 | VRC01 | VRC01 | VRC01 | VRC01 | VRC01 | virus only | cell only
B | 1:10 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | virus only | cell only
C | 1;20 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | virus only | cell only
D | 1:40 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | 20+95 | virus only | cell only
E | 1:80 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | virus only | cell only
F | 1:160 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | virus only | cell only
G | 1:320 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | 28+49 | virus only | cell only
H |  | 11: 110016.6667
|  | -11.71 | -19.3452 | -36.797 | -47.7953 | -31.1615 | -71.6098 | -77.9725 | -32.6159 | -24.2535
|  | 99.8096 | 95.727 | 98.8365 | 78.2034 | 56.0886 | 12.4681 | 13.3134 | -2.7114 | -11.2555
|  | 99.8591 | 98.732 | 97.7903 | 85.4659 | 47.0718 | 15.7676 | 4.1966 | 10.8865 | -5.9836
|  | 99.9367 | 99.8648 | 97.724 | 83.7571 | 61.6968 | 15.5858 | 7.0144 | -11.1646 | 7.6506
|  | 98.0403 | 98.0812 | 91.2304 | 79.4214 | 47.4627 | 22.6847 | 4.8329 | -7.8015 | 5.2874
|  | 99.4773 | 96.8287 | 95.6761 | 79.7395 | 48.0262 | 19.1307 | 2.7423 | -7.8015 | 7.378
|  | 94.0218 | 98.5802 | 90.7196 | 72.9405 | 44.4722 | -7.1653 | 18.8035 | 3.7421 | -4.2566

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | A01 | Group 1 | Un0001 | 101900
Plate 1 | B01 | Group 1 | Un0013 | 29650
Plate 1 | C01 | Group 1 | Un0025 | 18290
Plate 1 | D01 | Group 1 | Un0037 | 24280
Plate 1 | E01 | Group 1 | Un0049 | 11260
Plate 1 | F01 | Group 1 | Un0061 | 500.1
Plate 1 | G01 | Group 1 | Un0073 | 32.53
Plate 1 | A02 | Group 1 | Un0002 | 122900
Plate 1 | B02 | Group 1 | Un0014 | 209.5
Plate 1 | C02 | Group 1 | Un0026 | 155
Plate 1 | D02 | Group 1 | Un0038 | 69.69
Plate 1 | E02 | Group 1 | Un0050 | 2156
Plate 1 | F02 | Group 1 | Un0062 | 575.1
Plate 1 | G02 | Group 1 | Un0074 | 6577
Plate 1 | A03 | Group 1 | Un0003 | 131300
Plate 1 | B03 | Group 1 | Un0015 | 4701
Plate 1 | C03 | Group 1 | Un0027 | 1395
Plate 1 | D03 | Group 1 | Un0039 | 148.7
Plate 1 | E03 | Group 1 | Un0051 | 2111
Plate 1 | F03 | Group 1 | Un0063 | 3489
Plate 1 | G03 | Group 1 | Un0075 | 1562
Plate 1 | A04 | Group 1 | Un0004 | 150500
Plate 1 | B04 | Group 1 | Un0016 | 1280
Plate 1 | C04 | Group 1 | Un0028 | 2431
Plate 1 | D04 | Group 1 | Un0040 | 2504
Plate 1 | E04 | Group 1 | Un0052 | 9648
Plate 1 | F04 | Group 1 | Un0064 | 4757
Plate 1 | G04 | Group 1 | Un0076 | 10210
Plate 1 | A05 | Group 1 | Un0005 | 162600
Plate 1 | B05 | Group 1 | Un0017 | 23980
Plate 1 | C05 | Group 1 | Un0029 | 15990
Plate 1 | D05 | Group 1 | Un0041 | 17870
Plate 1 | E05 | Group 1 | Un0053 | 22640
Plate 1 | F05 | Group 1 | Un0065 | 22290
Plate 1 | G05 | Group 1 | Un0077 | 29770
Plate 1 | A06 | Group 1 | Un0006 | 144300
Plate 1 | B06 | Group 1 | Un0018 | 48310
Plate 1 | C06 | Group 1 | Un0030 | 58230
Plate 1 | D06 | Group 1 | Un0042 | 42140
Plate 1 | E06 | Group 1 | Un0054 | 57800
Plate 1 | F06 | Group 1 | Un0066 | 57180
Plate 1 | G06 | Group 1 | Un0078 | 61090
Plate 1 | A07 | Group 1 | Un0007 | 188800
Plate 1 | B07 | Group 1 | Un0019 | 96300
Plate 1 | C07 | Group 1 | Un0031 | 92670
Plate 1 | D07 | Group 1 | Un0043 | 92870
Plate 1 | E07 | Group 1 | Un0055 | 85060
Plate 1 | F07 | Group 1 | Un0067 | 88970
Plate 1 | G07 | Group 1 | Un0079 | 117900
Plate 1 | A08 | Group 1 | Un0008 | 195800
Plate 1 | B08 | Group 1 | Un0020 | 95370
Plate 1 | C08 | Group 1 | Un0032 | 105400
Plate 1 | D08 | Group 1 | Un0044 | 102300
Plate 1 | E08 | Group 1 | Un0056 | 104700
Plate 1 | F08 | Group 1 | Un0068 | 107000
Plate 1 | G08 | Group 1 | Un0080 | 89330
Plate 1 | A09 | Group 1 | Un0009 | 145900
Plate 1 | B09 | Group 1 | Un0021 | 113000
Plate 1 | C09 | Group 1 | Un0033 | 98040
Plate 1 | D09 | Group 1 | Un0045 | 122300
Plate 1 | E09 | Group 1 | Un0057 | 118600
Plate 1 | F09 | Group 1 | Un0069 | 118600
Plate 1 | G09 | Group 1 | Un0081 | 105900
Plate 1 | A10 | Group 1 | Un0010 | 136700
Plate 1 | B10 | Group 1 | Un0022 | 122400
Plate 1 | C10 | Group 1 | Un0034 | 116600
Plate 1 | D10 | Group 1 | Un0046 | 101600
Plate 1 | E10 | Group 1 | Un0058 | 104200
Plate 1 | F10 | Group 1 | Un0070 | 101900
Plate 1 | G10 | Group 1 | Un0082 | 114700
Plate 1 | A11 | Group 1 | Un0011 | 105300
Plate 1 | B11 | Group 1 | Un0023 | 110500
Plate 1 | C11 | Group 1 | Un0035 | 79270
Plate 1 | D11 | Group 1 | Un0047 | 111900
Plate 1 | E11 | Group 1 | Un0059 | 106900
Plate 1 | F11 | Group 1 | Un0071 | 109200
Plate 1 | G11 | Group 1 | Un0083 | 116300
Plate 1 | A12 | Group 1 | Un0012 | 162.6
Plate 1 | B12 | Group 1 | Un0024 | 260.3
Plate 1 | C12 | Group 1 | Un0036 | 141.6
Plate 1 | D12 | Group 1 | Un0048 | 228.3
Plate 1 | E12 | Group 1 | Un0060 | 231.3
Plate 1 | F12 | Group 1 | Un0072 | 189
Plate 1 | G12 | Group 1 | Un0084 | 144.2

## General information
General information
| Software version | SkanIt Software 6.0.1 for Microplate Readers RE, ver. 6.0.1.6
| Optical response compensation | Yes

## Session information
Session information
| Session name | 20200823 20+95 28+49 nuetralization.skax
Session notes
| Software version | SkanIt Software for Microplate Readers RE, ver. 6.0.1.6
| Execution time | 8/23/2020 4:39:13 PM
| User | DESKTOP-AOLF2JJ\User

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Serial number |  | 3020-80224
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL1935804
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser 1 | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | No
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 8/23/2020 4:39:13 PM | Session 20200823 20+95 28+49 nuetralization.skax started
| 8/23/2020 4:39:13 PM | Temperature | 26.0°C
| 8/23/2020 4:39:13 PM | Step Luminescence 1 started
| 8/23/2020 4:39:54 PM | Temperature | 26.0°C
| 8/23/2020 4:40:54 PM | Temperature | 26.0°C
| 8/23/2020 4:40:56 PM | Step Luminescence 1 ended
| 8/23/2020 4:40:56 PM | Temperature | 26.0°C
| 8/23/2020 4:41:08 PM | Session 20200823 20+95 28+49 nuetralization.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Un0001 | Un0002 | Un0003 | Un0004 | Un0005 | Un0006 | Un0007 | Un0008 | Un0009 | Un0010 | Un0011 | Un0012
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
B | Un0013 | Un0014 | Un0015 | Un0016 | Un0017 | Un0018 | Un0019 | Un0020 | Un0021 | Un0022 | Un0023 | Un0024
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C | Un0025 | Un0026 | Un0027 | Un0028 | Un0029 | Un0030 | Un0031 | Un0032 | Un0033 | Un0034 | Un0035 | Un0036
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D | Un0037 | Un0038 | Un0039 | Un0040 | Un0041 | Un0042 | Un0043 | Un0044 | Un0045 | Un0046 | Un0047 | Un0048
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E | Un0049 | Un0050 | Un0051 | Un0052 | Un0053 | Un0054 | Un0055 | Un0056 | Un0057 | Un0058 | Un0059 | Un0060
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F | Un0061 | Un0062 | Un0063 | Un0064 | Un0065 | Un0066 | Un0067 | Un0068 | Un0069 | Un0070 | Un0071 | Un0072
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G | Un0073 | Un0074 | Un0075 | Un0076 | Un0077 | Un0078 | Un0079 | Un0080 | Un0081 | Un0082 | Un0083 | Un0084
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H