## Luminescence 1_01
Measurement results
neutralizing hamster20200830 4-4.skax
8/30/2020 6:09:27 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 191.1 | 2814
C |  | 7408 | 5333
D |  | 22780 | 15450
E |  | 45880 | 33230
F |  | 44380 | 31180
G |  | 34270 | 30280 | 36380 | 24200 | 33970 | 29830 | 29060 | 23160 | 35080 | 34630 |  | 31086
H
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  | Day4 |  | Day4 |  | Day4 |  | Day4 |  | Day4
B | 25 | 4-4 | 4-4
C | 75 | 4-4 | 4-4
D | 225 | 4-4 | 4-4
E | 675 | 4-4 | 4-4
F | 2025 | 4-4 | 4-4
G | 6075 | 4-4 | 4-4
H
Autoloading range A1 - M28 |  | 99.3853 | 90.9477
|  | 76.1693 | 82.8444
|  | 26.7194 | 50.2992
|  | 1 | 1
|  | 1 | 1
|  | 1 | 1
95.1665
79.5069
26.7194
1
1
1

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | Un0001 | 191.1
Plate 1 | C02 | Group 1 | Un0002 | 7408
Plate 1 | D02 | Group 1 | Un0003 | 22780
Plate 1 | E02 | Group 1 | Un0004 | 45880
Plate 1 | F02 | Group 1 | Un0005 | 44380
Plate 1 | G02 | Group 1 | Un0006 | 34270
Plate 1 | B03 | Group 1 | Un0007 | 2814
Plate 1 | C03 | Group 1 | Un0008 | 5333
Plate 1 | D03 | Group 1 | Un0009 | 15450
Plate 1 | E03 | Group 1 | Un0010 | 33230
Plate 1 | F03 | Group 1 | Un0011 | 31180
Plate 1 | G03 | Group 1 | Un0012 | 30280
Plate 1 | B04 | Group 1 | Un0013 | 17710
Plate 1 | C04 | Group 1 | Un0014 | 22740
Plate 1 | D04 | Group 1 | Un0015 | 28220
Plate 1 | E04 | Group 1 | Un0016 | 53880
Plate 1 | F04 | Group 1 | Un0017 | 23200
Plate 1 | G04 | Group 1 | Un0018 | 36380
Plate 1 | B05 | Group 1 | Un0019 | 8752
Plate 1 | C05 | Group 1 | Un0020 | 11680
Plate 1 | D05 | Group 1 | Un0021 | 17180
Plate 1 | E05 | Group 1 | Un0022 | 33300
Plate 1 | F05 | Group 1 | Un0023 | 37400
Plate 1 | G05 | Group 1 | Un0024 | 24200
Plate 1 | B06 | Group 1 | Un0025 | 21020
Plate 1 | C06 | Group 1 | Un0026 | 20390
Plate 1 | D06 | Group 1 | Un0027 | 22460
Plate 1 | E06 | Group 1 | Un0028 | 27870
Plate 1 | F06 | Group 1 | Un0029 | 35420
Plate 1 | G06 | Group 1 | Un0030 | 33970
Plate 1 | B07 | Group 1 | Un0031 | 10980
Plate 1 | C07 | Group 1 | Un0032 | 19390
Plate 1 | D07 | Group 1 | Un0033 | 24540
Plate 1 | E07 | Group 1 | Un0034 | 25310
Plate 1 | F07 | Group 1 | Un0035 | 20770
Plate 1 | G07 | Group 1 | Un0036 | 29830
Plate 1 | B08 | Group 1 | Un0037 | 11300
Plate 1 | C08 | Group 1 | Un0038 | 13310
Plate 1 | D08 | Group 1 | Un0039 | 20200
Plate 1 | E08 | Group 1 | Un0040 | 21030
Plate 1 | F08 | Group 1 | Un0041 | 28030
Plate 1 | G08 | Group 1 | Un0042 | 29060
Plate 1 | B09 | Group 1 | Un0043 | 13790
Plate 1 | C09 | Group 1 | Un0044 | 13500
Plate 1 | D09 | Group 1 | Un0045 | 25920
Plate 1 | E09 | Group 1 | Un0046 | 36680
Plate 1 | F09 | Group 1 | Un0047 | 28910
Plate 1 | G09 | Group 1 | Un0048 | 23160
Plate 1 | B10 | Group 1 | Un0049 | 6937
Plate 1 | C10 | Group 1 | Un0050 | 22990
Plate 1 | D10 | Group 1 | Un0051 | 23840
Plate 1 | E10 | Group 1 | Un0052 | 29680
Plate 1 | F10 | Group 1 | Un0053 | 37190
Plate 1 | G10 | Group 1 | Un0054 | 35080
Plate 1 | B11 | Group 1 | Un0055 | 7830
Plate 1 | C11 | Group 1 | Un0056 | 15590
Plate 1 | D11 | Group 1 | Un0057 | 29610
Plate 1 | E11 | Group 1 | Un0058 | 44100
Plate 1 | F11 | Group 1 | Un0059 | 38730
Plate 1 | G11 | Group 1 | Un0060 | 34630

## General information
General information
| Software version | SkanIt Software 6.0.1 for Microplate Readers RE, ver. 6.0.1.6
| Optical response compensation | Yes

## Session information
Session information
| Session name | neutralizing hamster20200830 4-4.skax
Session notes
| Software version | SkanIt Software for Microplate Readers RE, ver. 6.0.1.6
| Execution time | 8/30/2020 6:09:27 PM
| User | DESKTOP-AOLF2JJ\User

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Serial number |  | 3020-80224
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL1935804
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser 1 | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 1
| Use settle delay | No
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 8/30/2020 6:09:27 PM | Session neutralizing hamster20200830 4-4.skax started
| 8/30/2020 6:09:28 PM | Temperature | 23.5°C
| 8/30/2020 6:09:28 PM | Step Luminescence 1 started
| 8/30/2020 6:10:00 PM | Temperature | 23.5°C
| 8/30/2020 6:10:44 PM | Step Luminescence 1 ended
| 8/30/2020 6:10:45 PM | Temperature | 23.6°C
| 8/30/2020 6:10:56 PM | Session neutralizing hamster20200830 4-4.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | Un0001 | Un0007 | Un0013 | Un0019 | Un0025 | Un0031 | Un0037 | Un0043 | Un0049 | Un0055
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C |  | Un0002 | Un0008 | Un0014 | Un0020 | Un0026 | Un0032 | Un0038 | Un0044 | Un0050 | Un0056
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D |  | Un0003 | Un0009 | Un0015 | Un0021 | Un0027 | Un0033 | Un0039 | Un0045 | Un0051 | Un0057
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E |  | Un0004 | Un0010 | Un0016 | Un0022 | Un0028 | Un0034 | Un0040 | Un0046 | Un0052 | Un0058
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F |  | Un0005 | Un0011 | Un0017 | Un0023 | Un0029 | Un0035 | Un0041 | Un0047 | Un0053 | Un0059
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G |  | Un0006 | Un0012 | Un0018 | Un0024 | Un0030 | Un0036 | Un0042 | Un0048 | Un0054 | Un0060
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H