## Luminescence 1_01
Measurement results
20200706 neutralization No20 28 VRCO1.skax
7/6/2020 10:54:38 AM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 463800 | 467.1 | 6.115 | 91.6 | 291.6 | 6810 | 197.1 | 290400 | 255600 | 240400 | 646.9 | 250300 |  | 376343.75
B | 236500 | 416.3 | -72.19 | 277.2 | 3920 | 1266 | 7787 | 156500 | 249900 | 175700 | 1069 | 448600
C | 361400 | 483 | 190 | 3100 | 6502 | 14650 | 4625 | 243600 | 222500 | 211700 | 947 | 437800
D | 454200 | 3195 | 1344 | 2437 | 16320 | 27210 | 30640 | 268700 | 225400 | 292100 | 1045 | 349300 |  | 240029.1667
E | 364000 | 8805 | 11060 | 16670 | 51440 | 63010 | 63850 | 233900 | 170500 | 171900 | 746.1 | 318200
F | 360000 | 32980 | 48730 | 58630 | 95270 | 104900 | 80180 | 231400 | 233300 | 236100 | 882.1 | 345900
G | 396400 | 141400 | 111200 | 105300 | 110600 | 130300 | 137100 | 284600 | 241700 | 184200 | 744.2 | 362500
H | 441500 | 190900 | 235900 | 192000 | 231900 | 255100 | 245700 | 310400 | 274900 | 355300 | 753.7 | 431100
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Autoloading range A1 - M28 |  | No.20 |  |  | No.28 |  |  | VRC01
| 61.1111 | 99.8759 | 99.9984 | 99.9757 | 99.9225 | 98.1905 | 99.9476 | 22.8365 | 32.0834 | 36.1222
| 20.3704 | 99.8894 | 100.0192 | 99.9263 | 98.9584 | 99.6636 | 97.9309 | 58.4157 | 33.5979 | 53.314
| 6.7901 | 99.8717 | 99.9495 | 99.1763 | 98.2723 | 96.1073 | 98.7711 | 35.272 | 40.8785 | 43.7482
| 2.2634 | 99.151 | 99.6429 | 99.3525 | 95.6635 | 92.7699 | 91.8585 | 28.6025 | 40.108 | 22.3848
| 0.75446 | 97.6604 | 97.0612 | 95.5705 | 86.3316 | 83.2573 | 83.0341 | 37.8494 | 54.6957 | 54.3237
| 0.25149 | 91.2367 | 87.0517 | 84.4212 | 74.6854 | 72.1266 | 78.695 | 38.5137 | 38.0088 | 37.2648
| 0.083829 | 62.428 | 70.4525 | 72.0203 | 70.612 | 65.3774 | 63.5705 | 24.3777 | 35.7768 | 51.0554
| 0.027943 | 49.2751 | 37.318 | 48.9828 | 38.3808 | 32.2162 | 34.714 | 17.5222 | 26.9551 | 5.5916
0.0093143
| 0.0031048 |  |  |  | 13.3333
12.2222
|  | No.20 |  |  | No.28
|  | 99.8054 | 99.9975 | 99.9618 | 99.8785 | 97.1628 | 99.9179 | -20.9853 | -6.487 | -0.15448 |  | 1 | 1 | 1
|  | 99.8266 | 100.0301 | 99.8845 | 98.3669 | 99.4726 | 96.7558 | 34.7996 | -4.1123 | 26.8006 |  | 34.7996 | -4.1123 | 26.8006
|  | 99.7988 | 99.9208 | 98.7085 | 97.2912 | 93.8966 | 98.0732 | -1.4877 | 7.3029 | 11.8024 |  | -1.4877 | 7.3029 | 11.8024
|  | 98.6689 | 99.4401 | 98.9847 | 93.2008 | 88.6639 | 87.2349 | -11.9447 | 6.0948 | -21.6935 |  | -11.9447 | 6.0948 | -21.6935
|  | 96.3317 | 95.3922 | 93.055 | 78.5693 | 73.749 | 73.3991 | 2.5535 | 28.967 | 28.3837 |  | 2.5535 | 28.967 | 28.3837
|  | 86.26 | 79.6983 | 75.5738 | 60.309 | 56.297 | 66.5957 | 3.5951 | 2.8035 | 1.637 |  | 3.5951 | 2.8035 | 1.637
|  | 41.0905 | 53.6723 | 56.1303 | 53.9223 | 45.7149 | 42.8819 | -18.5689 | -0.69608 | 23.2593 |  | -18.5689 | -0.69608 | 23.2593
|  | 20.468 | 1.7203 | 20.0097 | 3.3868 | -6.2787 | -2.3625 | -29.3176 | -14.5277 | -48.0237 |  | -29.3176 | -14.5277 | -48.0237

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | A01 | Group 1 | Un0001 | 463800
Plate 1 | B01 | Group 1 | Un0013 | 236500
Plate 1 | C01 | Group 1 | Un0025 | 361400
Plate 1 | D01 | Group 1 | Un0037 | 454200
Plate 1 | E01 | Group 1 | Un0049 | 364000
Plate 1 | F01 | Group 1 | Un0061 | 360000
Plate 1 | G01 | Group 1 | Un0073 | 396400
Plate 1 | H01 | Group 1 | Un0085 | 441500
Plate 1 | A02 | Group 1 | Un0002 | 467.1
Plate 1 | B02 | Group 1 | Un0014 | 416.3
Plate 1 | C02 | Group 1 | Un0026 | 483
Plate 1 | D02 | Group 1 | Un0038 | 3195
Plate 1 | E02 | Group 1 | Un0050 | 8805
Plate 1 | F02 | Group 1 | Un0062 | 32980
Plate 1 | G02 | Group 1 | Un0074 | 141400
Plate 1 | H02 | Group 1 | Un0086 | 190900
Plate 1 | A03 | Group 1 | Un0003 | 6.115
Plate 1 | B03 | Group 1 | Un0015 | -72.19
Plate 1 | C03 | Group 1 | Un0027 | 190
Plate 1 | D03 | Group 1 | Un0039 | 1344
Plate 1 | E03 | Group 1 | Un0051 | 11060
Plate 1 | F03 | Group 1 | Un0063 | 48730
Plate 1 | G03 | Group 1 | Un0075 | 111200
Plate 1 | H03 | Group 1 | Un0087 | 235900
Plate 1 | A04 | Group 1 | Un0004 | 91.6
Plate 1 | B04 | Group 1 | Un0016 | 277.2
Plate 1 | C04 | Group 1 | Un0028 | 3100
Plate 1 | D04 | Group 1 | Un0040 | 2437
Plate 1 | E04 | Group 1 | Un0052 | 16670
Plate 1 | F04 | Group 1 | Un0064 | 58630
Plate 1 | G04 | Group 1 | Un0076 | 105300
Plate 1 | H04 | Group 1 | Un0088 | 192000
Plate 1 | A05 | Group 1 | Un0005 | 291.6
Plate 1 | B05 | Group 1 | Un0017 | 3920
Plate 1 | C05 | Group 1 | Un0029 | 6502
Plate 1 | D05 | Group 1 | Un0041 | 16320
Plate 1 | E05 | Group 1 | Un0053 | 51440
Plate 1 | F05 | Group 1 | Un0065 | 95270
Plate 1 | G05 | Group 1 | Un0077 | 110600
Plate 1 | H05 | Group 1 | Un0089 | 231900
Plate 1 | A06 | Group 1 | Un0006 | 6810
Plate 1 | B06 | Group 1 | Un0018 | 1266
Plate 1 | C06 | Group 1 | Un0030 | 14650
Plate 1 | D06 | Group 1 | Un0042 | 27210
Plate 1 | E06 | Group 1 | Un0054 | 63010
Plate 1 | F06 | Group 1 | Un0066 | 104900
Plate 1 | G06 | Group 1 | Un0078 | 130300
Plate 1 | H06 | Group 1 | Un0090 | 255100
Plate 1 | A07 | Group 1 | Un0007 | 197.1
Plate 1 | B07 | Group 1 | Un0019 | 7787
Plate 1 | C07 | Group 1 | Un0031 | 4625
Plate 1 | D07 | Group 1 | Un0043 | 30640
Plate 1 | E07 | Group 1 | Un0055 | 63850
Plate 1 | F07 | Group 1 | Un0067 | 80180
Plate 1 | G07 | Group 1 | Un0079 | 137100
Plate 1 | H07 | Group 1 | Un0091 | 245700
Plate 1 | A08 | Group 1 | Un0008 | 290400
Plate 1 | B08 | Group 1 | Un0020 | 156500
Plate 1 | C08 | Group 1 | Un0032 | 243600
Plate 1 | D08 | Group 1 | Un0044 | 268700
Plate 1 | E08 | Group 1 | Un0056 | 233900
Plate 1 | F08 | Group 1 | Un0068 | 231400
Plate 1 | G08 | Group 1 | Un0080 | 284600
Plate 1 | H08 | Group 1 | Un0092 | 310400
Plate 1 | A09 | Group 1 | Un0009 | 255600
Plate 1 | B09 | Group 1 | Un0021 | 249900
Plate 1 | C09 | Group 1 | Un0033 | 222500
Plate 1 | D09 | Group 1 | Un0045 | 225400
Plate 1 | E09 | Group 1 | Un0057 | 170500
Plate 1 | F09 | Group 1 | Un0069 | 233300
Plate 1 | G09 | Group 1 | Un0081 | 241700
Plate 1 | H09 | Group 1 | Un0093 | 274900
Plate 1 | A10 | Group 1 | Un0010 | 240400
Plate 1 | B10 | Group 1 | Un0022 | 175700
Plate 1 | C10 | Group 1 | Un0034 | 211700
Plate 1 | D10 | Group 1 | Un0046 | 292100
Plate 1 | E10 | Group 1 | Un0058 | 171900
Plate 1 | F10 | Group 1 | Un0070 | 236100
Plate 1 | G10 | Group 1 | Un0082 | 184200
Plate 1 | H10 | Group 1 | Un0094 | 355300
Plate 1 | A11 | Group 1 | Un0011 | 646.9
Plate 1 | B11 | Group 1 | Un0023 | 1069
Plate 1 | C11 | Group 1 | Un0035 | 947
Plate 1 | D11 | Group 1 | Un0047 | 1045
Plate 1 | E11 | Group 1 | Un0059 | 746.1
Plate 1 | F11 | Group 1 | Un0071 | 882.1
Plate 1 | G11 | Group 1 | Un0083 | 744.2
Plate 1 | H11 | Group 1 | Un0095 | 753.7
Plate 1 | A12 | Group 1 | Un0012 | 250300
Plate 1 | B12 | Group 1 | Un0024 | 448600
Plate 1 | C12 | Group 1 | Un0036 | 437800
Plate 1 | D12 | Group 1 | Un0048 | 349300
Plate 1 | E12 | Group 1 | Un0060 | 318200
Plate 1 | F12 | Group 1 | Un0072 | 345900
Plate 1 | G12 | Group 1 | Un0084 | 362500
Plate 1 | H12 | Group 1 | Un0096 | 431100

## General information
General information
| Software version | SkanIt Software 6.0.1 for Microplate Readers RE, ver. 6.0.1.6
| Optical response compensation | Yes

## Session information
Session information
| Session name | 20200706 neutralization No20 28 VRCO1.skax
Session notes
| Software version | SkanIt Software for Microplate Readers RE, ver. 6.0.1.6
| Execution time | 7/6/2020 10:54:38 AM
| User | DESKTOP-AOLF2JJ\User

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Serial number |  | 3020-80224
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL1935804
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser 1 | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 1
| Use settle delay | No
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 7/6/2020 10:54:38 AM | Session 20200706 neutralization No20 28 VRCO1.skax started
| 7/6/2020 10:54:39 AM | Temperature | 23.3°C
| 7/6/2020 10:54:39 AM | Step Luminescence 1 started
| 7/6/2020 10:54:46 AM | Calibration | Luminometric 1.23799 86795
| 7/6/2020 10:55:28 AM | Temperature | 23.3°C
| 7/6/2020 10:56:28 AM | Temperature | 23.3°C
| 7/6/2020 10:56:40 AM | Step Luminescence 1 ended
| 7/6/2020 10:56:40 AM | Temperature | 23.3°C
| 7/6/2020 10:56:52 AM | Session 20200706 neutralization No20 28 VRCO1.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Un0001 | Un0002 | Un0003 | Un0004 | Un0005 | Un0006 | Un0007 | Un0008 | Un0009 | Un0010 | Un0011 | Un0012
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
B | Un0013 | Un0014 | Un0015 | Un0016 | Un0017 | Un0018 | Un0019 | Un0020 | Un0021 | Un0022 | Un0023 | Un0024
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C | Un0025 | Un0026 | Un0027 | Un0028 | Un0029 | Un0030 | Un0031 | Un0032 | Un0033 | Un0034 | Un0035 | Un0036
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D | Un0037 | Un0038 | Un0039 | Un0040 | Un0041 | Un0042 | Un0043 | Un0044 | Un0045 | Un0046 | Un0047 | Un0048
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E | Un0049 | Un0050 | Un0051 | Un0052 | Un0053 | Un0054 | Un0055 | Un0056 | Un0057 | Un0058 | Un0059 | Un0060
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F | Un0061 | Un0062 | Un0063 | Un0064 | Un0065 | Un0066 | Un0067 | Un0068 | Un0069 | Un0070 | Un0071 | Un0072
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G | Un0073 | Un0074 | Un0075 | Un0076 | Un0077 | Un0078 | Un0079 | Un0080 | Un0081 | Un0082 | Un0083 | Un0084
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H | Un0085 | Un0086 | Un0087 | Un0088 | Un0089 | Un0090 | Un0091 | Un0092 | Un0093 | Un0094 | Un0095 | Un0096
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1