## Luminescence 1_01
Measurement results
neutralizing hamster20200830 1-1.skax
8/30/2020 6:24:08 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 69170 | 87340 | 15960 | 4566 | 47720 | 35070 | 16530 | 6657 | 5132 | 13130
C |  | 71550 | 77600 | 43560 | 33330 | 67910 | 76720 | 39910 | 44770 | 24880 | 35240
D |  | 93350 | 98150 | 60020 | 73720 | 112100 | 104100 | 74970 | 65320 | 33550 | 48160
E |  | 93750 | 116400 | 115600 | 103800 | 110000 | 98740 | 64520 | 80310 | 64400 | 53580
F |  | 90140 | 82460 | 99700 | 109800 | 104000 | 111500 | 97620 | 84140 | 57390 | 63920
G |  | 73610 | 71400 | 71610 | 117600 | 89830 | 120900 | 91180 | 70490 | 82720 | 67790 |  | 85713
H
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  | Day0 |  |  |  | Day4 |  |  |  | Day4
B | 25 | 1-1 | 1-1 | 1-2 | 1-2 | 1-1 | 1-1 | 1-2 | 1-2 | 2-1 | 2-1
C | 75 | 1-1 | 1-1 | 1-2 | 1-2 | 1-1 | 1-1 | 1-2 | 1-2 | 2-1 | 2-1
D | 225 | 1-1 | 1-1 | 1-2 | 1-2 | 1-1 | 1-1 | 1-2 | 1-2 | 2-1 | 2-1
E | 675 | 1-1 | 1-1 | 1-2 | 1-2 | 1-1 | 1-1 | 1-2 | 1-2 | 2-1 | 2-1
F | 2025 | 1-1 | 1-1 | 1-2 | 1-2 | 1-1 | 1-1 | 1-2 | 1-2 | 2-1 | 2-1
G | 6075 | 1-1 | 1-1 | 1-2 | 1-2 | 1-1 | 1-1 | 1-2 | 1-2 | 2-1 | 2-1
H
Autoloading range A1 - M28
|  | 1 | 1 | 86.1938 | 96.1173 | 44.3258 | 59.0844 | 80.7147 | 92.2334 | 94.0126 | 84.6814 |  | 89.347
|  | 1 | 1 | 62.3183 | 71.6582 | 20.7705 | 10.492 | 53.4376 | 47.7675 | 70.9729 | 58.886 |  | 64.9295
|  | 1 | 1 | 48.0796 | 37.3129 | 1 | 1 | 12.5337 | 23.7922 | 33.044 | 37.4891 |  | 35.2665
|  | 1 | 1 | 38.0536 | 11.7347 | 1 | 1 | 24.7255 | 6.3036 | 3.4919 | 1 |  | 2.2459
|  | 1 | 1 | 13.7543 | 6.6327 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | Un0001 | 69170
Plate 1 | C02 | Group 1 | Un0002 | 71550
Plate 1 | D02 | Group 1 | Un0003 | 93350
Plate 1 | E02 | Group 1 | Un0004 | 93750
Plate 1 | F02 | Group 1 | Un0005 | 90140
Plate 1 | G02 | Group 1 | Un0006 | 73610
Plate 1 | B03 | Group 1 | Un0007 | 87340
Plate 1 | C03 | Group 1 | Un0008 | 77600
Plate 1 | D03 | Group 1 | Un0009 | 98150
Plate 1 | E03 | Group 1 | Un0010 | 116400
Plate 1 | F03 | Group 1 | Un0011 | 82460
Plate 1 | G03 | Group 1 | Un0012 | 71400
Plate 1 | B04 | Group 1 | Un0013 | 15960
Plate 1 | C04 | Group 1 | Un0014 | 43560
Plate 1 | D04 | Group 1 | Un0015 | 60020
Plate 1 | E04 | Group 1 | Un0016 | 115600
Plate 1 | F04 | Group 1 | Un0017 | 99700
Plate 1 | G04 | Group 1 | Un0018 | 71610
Plate 1 | B05 | Group 1 | Un0019 | 4566
Plate 1 | C05 | Group 1 | Un0020 | 33330
Plate 1 | D05 | Group 1 | Un0021 | 73720
Plate 1 | E05 | Group 1 | Un0022 | 103800
Plate 1 | F05 | Group 1 | Un0023 | 109800
Plate 1 | G05 | Group 1 | Un0024 | 117600
Plate 1 | B06 | Group 1 | Un0025 | 47720
Plate 1 | C06 | Group 1 | Un0026 | 67910
Plate 1 | D06 | Group 1 | Un0027 | 112100
Plate 1 | E06 | Group 1 | Un0028 | 110000
Plate 1 | F06 | Group 1 | Un0029 | 104000
Plate 1 | G06 | Group 1 | Un0030 | 89830
Plate 1 | B07 | Group 1 | Un0031 | 35070
Plate 1 | C07 | Group 1 | Un0032 | 76720
Plate 1 | D07 | Group 1 | Un0033 | 104100
Plate 1 | E07 | Group 1 | Un0034 | 98740
Plate 1 | F07 | Group 1 | Un0035 | 111500
Plate 1 | G07 | Group 1 | Un0036 | 120900
Plate 1 | B08 | Group 1 | Un0037 | 16530
Plate 1 | C08 | Group 1 | Un0038 | 39910
Plate 1 | D08 | Group 1 | Un0039 | 74970
Plate 1 | E08 | Group 1 | Un0040 | 64520
Plate 1 | F08 | Group 1 | Un0041 | 97620
Plate 1 | G08 | Group 1 | Un0042 | 91180
Plate 1 | B09 | Group 1 | Un0043 | 6657
Plate 1 | C09 | Group 1 | Un0044 | 44770
Plate 1 | D09 | Group 1 | Un0045 | 65320
Plate 1 | E09 | Group 1 | Un0046 | 80310
Plate 1 | F09 | Group 1 | Un0047 | 84140
Plate 1 | G09 | Group 1 | Un0048 | 70490
Plate 1 | B10 | Group 1 | Un0049 | 5132
Plate 1 | C10 | Group 1 | Un0050 | 24880
Plate 1 | D10 | Group 1 | Un0051 | 33550
Plate 1 | E10 | Group 1 | Un0052 | 64400
Plate 1 | F10 | Group 1 | Un0053 | 57390
Plate 1 | G10 | Group 1 | Un0054 | 82720
Plate 1 | B11 | Group 1 | Un0055 | 13130
Plate 1 | C11 | Group 1 | Un0056 | 35240
Plate 1 | D11 | Group 1 | Un0057 | 48160
Plate 1 | E11 | Group 1 | Un0058 | 53580
Plate 1 | F11 | Group 1 | Un0059 | 63920
Plate 1 | G11 | Group 1 | Un0060 | 67790

## General information
General information
| Software version | SkanIt Software 6.0.1 for Microplate Readers RE, ver. 6.0.1.6
| Optical response compensation | Yes

## Session information
Session information
| Session name | neutralizing hamster20200830 1-1.skax
Session notes
| Software version | SkanIt Software for Microplate Readers RE, ver. 6.0.1.6
| Execution time | 8/30/2020 6:24:08 PM
| User | DESKTOP-AOLF2JJ\User

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Serial number |  | 3020-80224
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL1935804
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser 1 | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 1
| Use settle delay | No
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 8/30/2020 6:24:08 PM | Session neutralizing hamster20200830 1-1.skax started
| 8/30/2020 6:24:09 PM | Temperature | 24.0°C
| 8/30/2020 6:24:09 PM | Step Luminescence 1 started
| 8/30/2020 6:24:16 PM | Calibration | Luminometric 1.29054 314602
| 8/30/2020 6:25:00 PM | Temperature | 24.0°C
| 8/30/2020 6:25:28 PM | Step Luminescence 1 ended
| 8/30/2020 6:25:28 PM | Temperature | 24.0°C
| 8/30/2020 6:25:40 PM | Session neutralizing hamster20200830 1-1.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | Un0001 | Un0007 | Un0013 | Un0019 | Un0025 | Un0031 | Un0037 | Un0043 | Un0049 | Un0055
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C |  | Un0002 | Un0008 | Un0014 | Un0020 | Un0026 | Un0032 | Un0038 | Un0044 | Un0050 | Un0056
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D |  | Un0003 | Un0009 | Un0015 | Un0021 | Un0027 | Un0033 | Un0039 | Un0045 | Un0051 | Un0057
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E |  | Un0004 | Un0010 | Un0016 | Un0022 | Un0028 | Un0034 | Un0040 | Un0046 | Un0052 | Un0058
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F |  | Un0005 | Un0011 | Un0017 | Un0023 | Un0029 | Un0035 | Un0041 | Un0047 | Un0053 | Un0059
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G |  | Un0006 | Un0012 | Un0018 | Un0024 | Un0030 | Un0036 | Un0042 | Un0048 | Un0054 | Un0060
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H