## Luminescence 1_01
Measurement results
neutralizing hamster20200830 3-3.skax
8/30/2020 6:12:09 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 318.1 | 552.2 | 26790 | 32500 | 10570 | 14120 | 117.5 | 129.4 | 16740 | 22620
C |  | 5875 | 6115 | 38970 | 30690 | 17160 | 12570 | 9918 | 1858 | 18860 | 22670
D |  | 17710 | 13800 | 48650 | 31710 | 21660 | 33770 | 19150 | 16770 | 30410 | 34760
E |  | 27120 | 28230 | 34430 | 34380 | 29530 | 30770 | 16010 | 20570 | 34250 | 45730
F |  | 35310 | 35530 | 35250 | 44520 | 29580 | 36040 | 34520 | 31400 | 36220 | 34630
G |  | 51670 | 32820 | 47520 | 36410 | 25370 | 40480 | 26070 | 41700 | 33550 | 42690 |  | 37828
H
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  | Day4 |  | Day4 |  | Day4 |  | Day4 |  | Day4
B | 25 | 3-3 | 3-3 | 3-4 | 3-4 | 4-1 | 4-1 | 4-2 | 4-2 | 4-3 | 4-3
C | 75 | 3-3 | 3-3 | 3-4 | 3-4 | 4-1 | 4-1 | 4-2 | 4-2 | 4-3 | 4-3
D | 225 | 3-3 | 3-3 | 3-4 | 3-4 | 4-1 | 4-1 | 4-2 | 4-2 | 4-3 | 4-3
E | 675 | 3-3 | 3-3 | 3-4 | 3-4 | 4-1 | 4-1 | 4-2 | 4-2 | 4-3 | 4-3
F | 2025 | 3-3 | 3-3 | 3-4 | 3-4 | 4-1 | 4-1 | 4-2 | 4-2 | 4-3 | 4-3
G | 6075 | 3-3 | 3-3 | 3-4 | 3-4 | 4-1 | 4-1 | 4-2 | 4-2 | 4-3 | 4-3
H
Autoloading range A1 - M28
|  | 99.1591 | 98.5402 | 29.1794 | 14.0848 | 72.0577 | 62.6732 | 99.6894 | 99.6579 | 55.7471 | 40.203
|  | 84.4692 | 83.8347 | 1 | 18.8696 | 21.9361 | 18.6581 | 73.7813 | 95.0883 | 19.6098 | 11.3091
|  | 53.1828 | 63.5191 | 1 | 1 | 1 | 1 | 49.3761 | 55.6678 | 1 | 1
|  | 28.3071 | 25.3727 | 1 | 1 | 1 | 1 | 57.6769 | 45.6223 | 1 | 1
|  | 6.6564 | 6.0749 | 1 | 1 | 1 | 1 | 8.7448 | 16.9927 | 1 | 1
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | 98.8497 |  | 21.6321 |  | 67.3654 |  | 99.6737 |  | 47.975
|  | 84.152 |  | 9.9348 |  | 20.2971 |  | 73.7813 |  | 15.4594
|  | 58.351 |  | 1 |  | 1 |  | 52.5219 |  | 1
|  | 26.8399 |  | 1 |  | 1 |  | 12.8688 |  | 1
|  | 6.3657 |  | 1 |  | 1 |  | 1 |  | 1
|  | 1 |  | 1 |  | 1 |  | 1 |  | 1

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | Un0001 | 318.1
Plate 1 | C02 | Group 1 | Un0002 | 5875
Plate 1 | D02 | Group 1 | Un0003 | 17710
Plate 1 | E02 | Group 1 | Un0004 | 27120
Plate 1 | F02 | Group 1 | Un0005 | 35310
Plate 1 | G02 | Group 1 | Un0006 | 51670
Plate 1 | B03 | Group 1 | Un0007 | 552.2
Plate 1 | C03 | Group 1 | Un0008 | 6115
Plate 1 | D03 | Group 1 | Un0009 | 13800
Plate 1 | E03 | Group 1 | Un0010 | 28230
Plate 1 | F03 | Group 1 | Un0011 | 35530
Plate 1 | G03 | Group 1 | Un0012 | 32820
Plate 1 | B04 | Group 1 | Un0013 | 26790
Plate 1 | C04 | Group 1 | Un0014 | 38970
Plate 1 | D04 | Group 1 | Un0015 | 48650
Plate 1 | E04 | Group 1 | Un0016 | 34430
Plate 1 | F04 | Group 1 | Un0017 | 35250
Plate 1 | G04 | Group 1 | Un0018 | 47520
Plate 1 | B05 | Group 1 | Un0019 | 32500
Plate 1 | C05 | Group 1 | Un0020 | 30690
Plate 1 | D05 | Group 1 | Un0021 | 31710
Plate 1 | E05 | Group 1 | Un0022 | 34380
Plate 1 | F05 | Group 1 | Un0023 | 44520
Plate 1 | G05 | Group 1 | Un0024 | 36410
Plate 1 | B06 | Group 1 | Un0025 | 10570
Plate 1 | C06 | Group 1 | Un0026 | 17160
Plate 1 | D06 | Group 1 | Un0027 | 21660
Plate 1 | E06 | Group 1 | Un0028 | 29530
Plate 1 | F06 | Group 1 | Un0029 | 29580
Plate 1 | G06 | Group 1 | Un0030 | 25370
Plate 1 | B07 | Group 1 | Un0031 | 14120
Plate 1 | C07 | Group 1 | Un0032 | 12570
Plate 1 | D07 | Group 1 | Un0033 | 33770
Plate 1 | E07 | Group 1 | Un0034 | 30770
Plate 1 | F07 | Group 1 | Un0035 | 36040
Plate 1 | G07 | Group 1 | Un0036 | 40480
Plate 1 | B08 | Group 1 | Un0037 | 117.5
Plate 1 | C08 | Group 1 | Un0038 | 9918
Plate 1 | D08 | Group 1 | Un0039 | 19150
Plate 1 | E08 | Group 1 | Un0040 | 16010
Plate 1 | F08 | Group 1 | Un0041 | 34520
Plate 1 | G08 | Group 1 | Un0042 | 26070
Plate 1 | B09 | Group 1 | Un0043 | 129.4
Plate 1 | C09 | Group 1 | Un0044 | 1858
Plate 1 | D09 | Group 1 | Un0045 | 16770
Plate 1 | E09 | Group 1 | Un0046 | 20570
Plate 1 | F09 | Group 1 | Un0047 | 31400
Plate 1 | G09 | Group 1 | Un0048 | 41700
Plate 1 | B10 | Group 1 | Un0049 | 16740
Plate 1 | C10 | Group 1 | Un0050 | 18860
Plate 1 | D10 | Group 1 | Un0051 | 30410
Plate 1 | E10 | Group 1 | Un0052 | 34250
Plate 1 | F10 | Group 1 | Un0053 | 36220
Plate 1 | G10 | Group 1 | Un0054 | 33550
Plate 1 | B11 | Group 1 | Un0055 | 22620
Plate 1 | C11 | Group 1 | Un0056 | 22670
Plate 1 | D11 | Group 1 | Un0057 | 34760
Plate 1 | E11 | Group 1 | Un0058 | 45730
Plate 1 | F11 | Group 1 | Un0059 | 34630
Plate 1 | G11 | Group 1 | Un0060 | 42690

## General information
General information
| Software version | SkanIt Software 6.0.1 for Microplate Readers RE, ver. 6.0.1.6
| Optical response compensation | Yes

## Session information
Session information
| Session name | neutralizing hamster20200830 3-3.skax
Session notes
| Software version | SkanIt Software for Microplate Readers RE, ver. 6.0.1.6
| Execution time | 8/30/2020 6:12:09 PM
| User | DESKTOP-AOLF2JJ\User

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Serial number |  | 3020-80224
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL1935804
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser 1 | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 1
| Use settle delay | No
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 8/30/2020 6:12:09 PM | Session neutralizing hamster20200830 3-3.skax started
| 8/30/2020 6:12:09 PM | Temperature | 23.6°C
| 8/30/2020 6:12:09 PM | Step Luminescence 1 started
| 8/30/2020 6:13:00 PM | Temperature | 23.7°C
| 8/30/2020 6:13:26 PM | Step Luminescence 1 ended
| 8/30/2020 6:13:26 PM | Temperature | 23.7°C
| 8/30/2020 6:13:37 PM | Session neutralizing hamster20200830 3-3.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | Un0001 | Un0007 | Un0013 | Un0019 | Un0025 | Un0031 | Un0037 | Un0043 | Un0049 | Un0055
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C |  | Un0002 | Un0008 | Un0014 | Un0020 | Un0026 | Un0032 | Un0038 | Un0044 | Un0050 | Un0056
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D |  | Un0003 | Un0009 | Un0015 | Un0021 | Un0027 | Un0033 | Un0039 | Un0045 | Un0051 | Un0057
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E |  | Un0004 | Un0010 | Un0016 | Un0022 | Un0028 | Un0034 | Un0040 | Un0046 | Un0052 | Un0058
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F |  | Un0005 | Un0011 | Un0017 | Un0023 | Un0029 | Un0035 | Un0041 | Un0047 | Un0053 | Un0059
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G |  | Un0006 | Un0012 | Un0018 | Un0024 | Un0030 | Un0036 | Un0042 | Un0048 | Un0054 | Un0060
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H