## Luminescence 1_01
Measurement results
neutralizing hamster20200830 6-1.skax
8/30/2020 6:06:17 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B | 5779 | 6399 | 3774 | 9996 | 37880 | 34920 | 14700 | 17750 | 9184 | 2788 | 13630 | 5121
C | 36690 | 31380 | 25460 | 15820 | 49030 | 34570 | 28780 | 24770 | 15020 | 16700 | 27040 | 32380
D | 85270 | 45220 | 40480 | 36520 | 54830 | 19510 | 41030 | 35220 | 20440 | 31810 | 34340 | 48430
E | 62520 | 68400 | 44160 | 43510 | 55970 | 42260 | 42620 | 39950 | 52180 | 29860 | 45930 | 65140
F | 92200 | 50480 | 55560 | 50130 | 46380 | 40500 | 48790 | 37850 | 38480 | 38830 | 51950 | 66910
G | 95260 | 46870 | 65630 | 59250 | 51510 | 74450 | 44380 | 56620 | 48370 | 49070 | 63270 | 79170 |  | 61154.1667
H
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Day4 |  | Day4 |  | Day4 |  | Day4 |  | Day4 |  | Day4
B | 6-1 | 6-1 | 6-2 | 6-2 | 6-3 | 6-3 | 7-1 | 7-1 | 7-2 | 7-2 | 7-3 | 7-3 | 25
C | 6-1 | 6-1 | 6-2 | 6-2 | 6-3 | 6-3 | 7-1 | 7-1 | 7-2 | 7-2 | 7-3 | 7-3 | 75
D | 6-1 | 6-1 | 6-2 | 6-2 | 6-3 | 6-3 | 7-1 | 7-1 | 7-2 | 7-2 | 7-3 | 7-3 | 225
E | 6-1 | 6-1 | 6-2 | 6-2 | 6-3 | 6-3 | 7-1 | 7-1 | 7-2 | 7-2 | 7-3 | 7-3 | 675
F | 6-1 | 6-1 | 6-2 | 6-2 | 6-3 | 6-3 | 7-1 | 7-1 | 7-2 | 7-2 | 7-3 | 7-3 | 2025
G | 6-1 | 6-1 | 6-2 | 6-2 | 6-3 | 6-3 | 7-1 | 7-1 | 7-2 | 7-2 | 7-3 | 7-3 | 6075
H
Autoloading range A1 - M28
| 90.5501 | 89.5363 | 93.8287 | 83.6544 | 38.058 | 42.8983 | 75.9623 | 70.9749 | 84.9822 | 95.441 | 77.712 | 91.6261
| 40.0039 | 48.6869 | 58.3674 | 74.1309 | 10.3411 | 8.477 | 52.9385 | 59.4957 | 75.4391 | 72.6919 | 55.7838 | 47.0517
| 23.3574 | 26.0555 | 33.8065 | 40.2819 | 1 | 1 | 32.9071 | 42.4077 | 66.5762 | 47.9838 | 15.0505 | 20.8065
| 1 | 1 | 9.1474 | 18.0266 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B01 | Group 1 | Un0001 | 5779
Plate 1 | C01 | Group 1 | Un0013 | 36690
Plate 1 | D01 | Group 1 | Un0025 | 85270
Plate 1 | E01 | Group 1 | Un0037 | 62520
Plate 1 | F01 | Group 1 | Un0049 | 92200
Plate 1 | G01 | Group 1 | Un0061 | 95260
Plate 1 | B02 | Group 1 | Un0002 | 6399
Plate 1 | C02 | Group 1 | Un0014 | 31380
Plate 1 | D02 | Group 1 | Un0026 | 45220
Plate 1 | E02 | Group 1 | Un0038 | 68400
Plate 1 | F02 | Group 1 | Un0050 | 50480
Plate 1 | G02 | Group 1 | Un0062 | 46870
Plate 1 | B03 | Group 1 | Un0003 | 3774
Plate 1 | C03 | Group 1 | Un0015 | 25460
Plate 1 | D03 | Group 1 | Un0027 | 40480
Plate 1 | E03 | Group 1 | Un0039 | 44160
Plate 1 | F03 | Group 1 | Un0051 | 55560
Plate 1 | G03 | Group 1 | Un0063 | 65630
Plate 1 | B04 | Group 1 | Un0004 | 9996
Plate 1 | C04 | Group 1 | Un0016 | 15820
Plate 1 | D04 | Group 1 | Un0028 | 36520
Plate 1 | E04 | Group 1 | Un0040 | 43510
Plate 1 | F04 | Group 1 | Un0052 | 50130
Plate 1 | G04 | Group 1 | Un0064 | 59250
Plate 1 | B05 | Group 1 | Un0005 | 37880
Plate 1 | C05 | Group 1 | Un0017 | 49030
Plate 1 | D05 | Group 1 | Un0029 | 54830
Plate 1 | E05 | Group 1 | Un0041 | 55970
Plate 1 | F05 | Group 1 | Un0053 | 46380
Plate 1 | G05 | Group 1 | Un0065 | 51510
Plate 1 | B06 | Group 1 | Un0006 | 34920
Plate 1 | C06 | Group 1 | Un0018 | 34570
Plate 1 | D06 | Group 1 | Un0030 | 19510
Plate 1 | E06 | Group 1 | Un0042 | 42260
Plate 1 | F06 | Group 1 | Un0054 | 40500
Plate 1 | G06 | Group 1 | Un0066 | 74450
Plate 1 | B07 | Group 1 | Un0007 | 14700
Plate 1 | C07 | Group 1 | Un0019 | 28780
Plate 1 | D07 | Group 1 | Un0031 | 41030
Plate 1 | E07 | Group 1 | Un0043 | 42620
Plate 1 | F07 | Group 1 | Un0055 | 48790
Plate 1 | G07 | Group 1 | Un0067 | 44380
Plate 1 | B08 | Group 1 | Un0008 | 17750
Plate 1 | C08 | Group 1 | Un0020 | 24770
Plate 1 | D08 | Group 1 | Un0032 | 35220
Plate 1 | E08 | Group 1 | Un0044 | 39950
Plate 1 | F08 | Group 1 | Un0056 | 37850
Plate 1 | G08 | Group 1 | Un0068 | 56620
Plate 1 | B09 | Group 1 | Un0009 | 9184
Plate 1 | C09 | Group 1 | Un0021 | 15020
Plate 1 | D09 | Group 1 | Un0033 | 20440
Plate 1 | E09 | Group 1 | Un0045 | 52180
Plate 1 | F09 | Group 1 | Un0057 | 38480
Plate 1 | G09 | Group 1 | Un0069 | 48370
Plate 1 | B10 | Group 1 | Un0010 | 2788
Plate 1 | C10 | Group 1 | Un0022 | 16700
Plate 1 | D10 | Group 1 | Un0034 | 31810
Plate 1 | E10 | Group 1 | Un0046 | 29860
Plate 1 | F10 | Group 1 | Un0058 | 38830
Plate 1 | G10 | Group 1 | Un0070 | 49070
Plate 1 | B11 | Group 1 | Un0011 | 13630
Plate 1 | C11 | Group 1 | Un0023 | 27040
Plate 1 | D11 | Group 1 | Un0035 | 34340
Plate 1 | E11 | Group 1 | Un0047 | 45930
Plate 1 | F11 | Group 1 | Un0059 | 51950
Plate 1 | G11 | Group 1 | Un0071 | 63270
Plate 1 | B12 | Group 1 | Un0012 | 5121
Plate 1 | C12 | Group 1 | Un0024 | 32380
Plate 1 | D12 | Group 1 | Un0036 | 48430
Plate 1 | E12 | Group 1 | Un0048 | 65140
Plate 1 | F12 | Group 1 | Un0060 | 66910
Plate 1 | G12 | Group 1 | Un0072 | 79170

## General information
General information
| Software version | SkanIt Software 6.0.1 for Microplate Readers RE, ver. 6.0.1.6
| Optical response compensation | Yes

## Session information
Session information
| Session name | neutralizing hamster20200830 6-1.skax
Session notes
| Software version | SkanIt Software for Microplate Readers RE, ver. 6.0.1.6
| Execution time | 8/30/2020 6:06:17 PM
| User | DESKTOP-AOLF2JJ\User

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Serial number |  | 3020-80224
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL1935804
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser 1 | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | No
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 8/30/2020 6:06:17 PM | Session neutralizing hamster20200830 6-1.skax started
| 8/30/2020 6:06:17 PM | Temperature | 23.4°C
| 8/30/2020 6:06:17 PM | Step Luminescence 1 started
| 8/30/2020 6:06:25 PM | Calibration | Luminometric 1.29366 207438
| 8/30/2020 6:07:00 PM | Temperature | 23.4°C
| 8/30/2020 6:07:48 PM | Step Luminescence 1 ended
| 8/30/2020 6:07:48 PM | Temperature | 23.5°C
| 8/30/2020 6:08:00 PM | Temperature | 23.5°C
| 8/30/2020 6:08:00 PM | Session neutralizing hamster20200830 6-1.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B | Un0001 | Un0002 | Un0003 | Un0004 | Un0005 | Un0006 | Un0007 | Un0008 | Un0009 | Un0010 | Un0011 | Un0012
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C | Un0013 | Un0014 | Un0015 | Un0016 | Un0017 | Un0018 | Un0019 | Un0020 | Un0021 | Un0022 | Un0023 | Un0024
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D | Un0025 | Un0026 | Un0027 | Un0028 | Un0029 | Un0030 | Un0031 | Un0032 | Un0033 | Un0034 | Un0035 | Un0036
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E | Un0037 | Un0038 | Un0039 | Un0040 | Un0041 | Un0042 | Un0043 | Un0044 | Un0045 | Un0046 | Un0047 | Un0048
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F | Un0049 | Un0050 | Un0051 | Un0052 | Un0053 | Un0054 | Un0055 | Un0056 | Un0057 | Un0058 | Un0059 | Un0060
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G | Un0061 | Un0062 | Un0063 | Un0064 | Un0065 | Un0066 | Un0067 | Un0068 | Un0069 | Un0070 | Un0071 | Un0072
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H