## Luminescence 1_01
Measurement results
neutralizing hamster20200903 6-1 D0.skax
9/3/2020 4:14:32 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 13150 | 4627 | 8068 | 15330 | 47570 | 28780 | 28690 | 17590 | 19650 | 46980 | 516.2
C |  | 30280 | 21350 | 27760 | 44440 | 85550 | 59900 | 62270 | 49990 | 66210 | 74370 | 443.9
D |  | 36610 | 35600 | 51970 | 39840 | 73950 | 76870 | 75850 | 63180 | 65580 | 78220 | 523.4
E |  | 40200 | 42710 | 45850 | 64290 | 98090 | 109100 | 87730 | 86990 | 80650 | 95620 | 362.8
F |  | 59230 | 48740 | 68040 | 75560 | 84740 | 99490 | 100200 | 103600 | 87190 | 79890 | 403.9
G |  | 45950 | 45580 | 59720 | 71440 | 60540 | 123800 | 83880 | 119600 | 100500 | 85850 | 366.7
H | 64960 | 58280 | 80810 | 65190 | 103800 | 154200 | 124000 | 121600 | 113400 | 128500 | 456.1
[10 empty] | 67310 |  | 101474
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  | D0
B | 25 | 6-1 | 6-1 | 6-2 | 6-2 | 6-3 | 7-1 | 7-1 | 7-2 | 7-2 | 7-3 | NC
C | 75 | 6-1 | 6-1 | 6-2 | 6-2 | 6-3 | 7-1 | 7-1 | 7-2 | 7-2 | 7-3 | NC
D | 225 | 6-1 | 6-1 | 6-2 | 6-2 | 6-3 | 7-1 | 7-1 | 7-2 | 7-2 | 7-3 | NC
E | 675 | 6-1 | 6-1 | 6-2 | 6-2 | 6-3 | 7-1 | 7-1 | 7-2 | 7-2 | 7-3 | NC
F | 2025 | 6-1 | 6-1 | 6-2 | 6-2 | 6-3 | 7-1 | 7-1 | 7-2 | 7-2 | 7-3 | NC
G | 6075 | 6-1 | 6-1 | 6-2 | 6-2 | 6-3 | 7-1 | 7-1 | 7-2 | 7-2 | 7-3 | NC
H | VC | VC | VC | VC | VC | VC | VC | VC | VC | VC | NC
|  | 87.041 | 95.4402 | 92.0492 | 84.8927 | 53.121 | 71.6381 | 71.7267 | 82.6655 | 80.6354 | 53.7024
|  | 70.1598 | 78.9601 | 72.6432 | 56.2055 | 15.6927 | 40.9701 | 38.6345 | 50.7361 | 34.7518 | 26.7103
|  | 63.9218 | 64.9171 | 48.7849 | 60.7387 | 27.1242 | 24.2466 | 25.2518 | 37.7377 | 35.3726 | 22.9162
|  | 60.3839 | 57.9104 | 54.816 | 36.6439 | 3.3348 | -7.5152 | 13.5444 | 14.2736 | 20.5215 | 5.769
|  | 41.6304 | 51.968 | 32.9483 | 25.5376 | 16.4909 | 1.9552 | 1.2555 | -2.0951 | 14.0765 | 21.2705
|  | 54.7175 | 55.0821 | 41.1475 | 29.5977 | 40.3394 | -22.0017 | 17.3384 | -17.8627 | 0.95985 | 15.397
|  | 80.4635 | 93.1258 | 88.0137 | 77.2248 | 29.327 | 57.2426 | 57.3763 | 73.8672 | 70.8067 | 30.2035
|  | 55.0141 | 68.2811 | 58.758 | 33.9771 | 1 | 11.0088 | 7.4877 | 25.7317 | 1.6342 | 1
|  | 45.6099 | 47.1104 | 22.7901 | 40.8112 | 1 | 1 | 1 | 6.1358 | 2.5702 | 1
|  | 40.2763 | 36.5473 | 31.8823 | 4.4867 | 1 | 1 | 1 | 1 | 1 | 1
|  | 12.0042 | 27.5888 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | H01 | Group 1 | Un0067 | 64960
Plate 1 | B02 | Group 1 | Un0001 | 13150
Plate 1 | C02 | Group 1 | Un0002 | 30280
Plate 1 | D02 | Group 1 | Un0003 | 36610
Plate 1 | E02 | Group 1 | Un0004 | 40200
Plate 1 | F02 | Group 1 | Un0005 | 59230
Plate 1 | G02 | Group 1 | Un0006 | 45950
Plate 1 | H02 | Group 1 | Un0068 | 58280
Plate 1 | B03 | Group 1 | Un0007 | 4627
Plate 1 | C03 | Group 1 | Un0008 | 21350
Plate 1 | D03 | Group 1 | Un0009 | 35600
Plate 1 | E03 | Group 1 | Un0010 | 42710
Plate 1 | F03 | Group 1 | Un0011 | 48740
Plate 1 | G03 | Group 1 | Un0012 | 45580
Plate 1 | H03 | Group 1 | Un0069 | 80810
Plate 1 | B04 | Group 1 | Un0013 | 8068
Plate 1 | C04 | Group 1 | Un0014 | 27760
Plate 1 | D04 | Group 1 | Un0015 | 51970
Plate 1 | E04 | Group 1 | Un0016 | 45850
Plate 1 | F04 | Group 1 | Un0017 | 68040
Plate 1 | G04 | Group 1 | Un0018 | 59720
Plate 1 | H04 | Group 1 | Un0070 | 65190
Plate 1 | B05 | Group 1 | Un0019 | 15330
Plate 1 | C05 | Group 1 | Un0020 | 44440
Plate 1 | D05 | Group 1 | Un0021 | 39840
Plate 1 | E05 | Group 1 | Un0022 | 64290
Plate 1 | F05 | Group 1 | Un0023 | 75560
Plate 1 | G05 | Group 1 | Un0024 | 71440
Plate 1 | H05 | Group 1 | Un0071 | 103800
Plate 1 | B06 | Group 1 | Un0025 | 47570
Plate 1 | C06 | Group 1 | Un0026 | 85550
Plate 1 | D06 | Group 1 | Un0027 | 73950
Plate 1 | E06 | Group 1 | Un0028 | 98090
Plate 1 | F06 | Group 1 | Un0029 | 84740
Plate 1 | G06 | Group 1 | Un0030 | 60540
Plate 1 | H06 | Group 1 | Un0072 | 154200
Plate 1 | B07 | Group 1 | Un0031 | 28780
Plate 1 | C07 | Group 1 | Un0032 | 59900
Plate 1 | D07 | Group 1 | Un0033 | 76870
Plate 1 | E07 | Group 1 | Un0034 | 109100
Plate 1 | F07 | Group 1 | Un0035 | 99490
Plate 1 | G07 | Group 1 | Un0036 | 123800
Plate 1 | H07 | Group 1 | Un0073 | 124000
Plate 1 | B08 | Group 1 | Un0037 | 28690
Plate 1 | C08 | Group 1 | Un0038 | 62270
Plate 1 | D08 | Group 1 | Un0039 | 75850
Plate 1 | E08 | Group 1 | Un0040 | 87730
Plate 1 | F08 | Group 1 | Un0041 | 100200
Plate 1 | G08 | Group 1 | Un0042 | 83880
Plate 1 | H08 | Group 1 | Un0074 | 121600
Plate 1 | B09 | Group 1 | Un0043 | 17590
Plate 1 | C09 | Group 1 | Un0044 | 49990
Plate 1 | D09 | Group 1 | Un0045 | 63180
Plate 1 | E09 | Group 1 | Un0046 | 86990
Plate 1 | F09 | Group 1 | Un0047 | 103600
Plate 1 | G09 | Group 1 | Un0048 | 119600
Plate 1 | H09 | Group 1 | Un0075 | 113400
Plate 1 | B10 | Group 1 | Un0049 | 19650
Plate 1 | C10 | Group 1 | Un0050 | 66210
Plate 1 | D10 | Group 1 | Un0051 | 65580
Plate 1 | E10 | Group 1 | Un0052 | 80650
Plate 1 | F10 | Group 1 | Un0053 | 87190
Plate 1 | G10 | Group 1 | Un0054 | 100500
Plate 1 | H10 | Group 1 | Un0076 | 128500
Plate 1 | B11 | Group 1 | Un0055 | 46980
Plate 1 | C11 | Group 1 | Un0056 | 74370
Plate 1 | D11 | Group 1 | Un0057 | 78220
Plate 1 | E11 | Group 1 | Un0058 | 95620
Plate 1 | F11 | Group 1 | Un0059 | 79890
Plate 1 | G11 | Group 1 | Un0060 | 85850
Plate 1 | H11 | Group 1 | Un0077 | 456.1
Plate 1 | B12 | Group 1 | Un0061 | 516.2
Plate 1 | C12 | Group 1 | Un0062 | 443.9
Plate 1 | D12 | Group 1 | Un0063 | 523.4
Plate 1 | E12 | Group 1 | Un0064 | 362.8
Plate 1 | F12 | Group 1 | Un0065 | 403.9
Plate 1 | G12 | Group 1 | Un0066 | 366.7

## General information
General information
| Software version | SkanIt Software 6.0.1 for Microplate Readers RE, ver. 6.0.1.6
| Optical response compensation | Yes

## Session information
Session information
| Session name | neutralizing hamster20200903 6-1 D0.skax
Session notes
| Software version | SkanIt Software for Microplate Readers RE, ver. 6.0.1.6
| Execution time | 9/3/2020 4:14:32 PM
| User | DESKTOP-AOLF2JJ\User

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Serial number |  | 3020-80224
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL1935804
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser 1 | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | No
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 9/3/2020 4:14:33 PM | Session neutralizing hamster20200903 6-1 D0.skax started
| 9/3/2020 4:14:33 PM | Temperature | 22.3°C
| 9/3/2020 4:14:33 PM | Step Luminescence 1 started
| 9/3/2020 4:14:41 PM | Calibration | Luminometric 1.28321 19338
| 9/3/2020 4:15:12 PM | Temperature | 22.3°C
| 9/3/2020 4:16:11 PM | Step Luminescence 1 ended
| 9/3/2020 4:16:11 PM | Temperature | 22.3°C
| 9/3/2020 4:16:12 PM | Temperature | 22.3°C
| 9/3/2020 4:16:21 PM | Session neutralizing hamster20200903 6-1 D0.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | Un0001 | Un0007 | Un0013 | Un0019 | Un0025 | Un0031 | Un0037 | Un0043 | Un0049 | Un0055 | Un0061
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C |  | Un0002 | Un0008 | Un0014 | Un0020 | Un0026 | Un0032 | Un0038 | Un0044 | Un0050 | Un0056 | Un0062
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D |  | Un0003 | Un0009 | Un0015 | Un0021 | Un0027 | Un0033 | Un0039 | Un0045 | Un0051 | Un0057 | Un0063
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E |  | Un0004 | Un0010 | Un0016 | Un0022 | Un0028 | Un0034 | Un0040 | Un0046 | Un0052 | Un0058 | Un0064
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F |  | Un0005 | Un0011 | Un0017 | Un0023 | Un0029 | Un0035 | Un0041 | Un0047 | Un0053 | Un0059 | Un0065
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G |  | Un0006 | Un0012 | Un0018 | Un0024 | Un0030 | Un0036 | Un0042 | Un0048 | Un0054 | Un0060 | Un0066
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H | Un0067 | Un0068 | Un0069 | Un0070 | Un0071 | Un0072 | Un0073 | Un0074 | Un0075 | Un0076 | Un0077
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1