## Absorbance 1_01
Measurement results
20210119 homogene plate5 REPEAT3.xlsx.skax
19/1/2021 3:04:12 pm
Absorbance 1
Wavelength: 450 nm
Plate 1
[14 empty] | conc | P450 | P450 | P450
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 50 | 0.8885 | 0.724 | 0.80625
A | 0.3227 | 0.5933 | 0.3602 | 0.429 | 0.2812 | 0.2231 | 0.3693 | 0.1801 | 0.245 | 0.0412 |  |  | 0.036567 | 25 | 0.5932 | 0.5188 | 0.556
B | 0.1726 | 0.2002 | 0.0911 | 0.3577 | 0.2193 | 0.2192 | 0.86 | 0.1347 | 0.458 | 0.036 |  |  |  | 12.5 | 0.314 | 0.4184 | 0.3662
C | 0.0853 | 0.0842 | 0.0532 | 0.4235 | 0.0548 | 0.0672 | 0.0538 | 0.0482 | 0.0346 | 0.0367 |  |  |  | 6.25 | 0.1527 | 0.3744 | 0.26355
D | 0.1292 | 0.0912 | 0.1839 | 0.0949 | 0.1037 | 0.0444 | 0.1711 | 0.0398 | 0.039 | 0.0319 |  |  |  | 3.125 | 0.1464 | 0.3541 | 0.25025
E | 0.9251 | 0.6298 | 0.3506 | 0.1893 | 0.183 | 0.3937 | 0.098 | 0.0427 | 0.0356 | 0.038 |  |  |  | 0.78125 | 0.0614 | 0.0546 | 0.058
F | 0.7606 | 0.5554 | 0.455 | 0.411 | 0.3907 | 0.3405 | 0.0912 | 0.0542 | 0.0396 | 0.0762 |  |  |  | 0.39062 | 0.0061 | 0.0176 | 0.01185
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.2861 | 0.5567 | 0.3236 | 0.3924 | 0.2446 | 0.1865 | 0.3327 | 0.1435 | Un0049 | Un0055
B | 0.136 | 0.1636 | 0.0545 | 0.3211 | 0.1827 | 0.1826 | 0.8234 | 0.0981 | Un0050 | Un0056
C | 0.0487 | 0.0476 | 0.0166 | 0.3869 | 0.0182 | 0.0306 | 0.0172 | 0.0116 | Un0051 | Un0057
D | 0.0926 | 0.0546 | 0.1473 | 0.0583 | 0.0671 | 0.0078 | 0.1345 | 0.0032 | Un0052 | Un0058
E | 0.8885 | 0.5932 | 0.314 | 0.1527 | 0.1464 | 0.3571 | 0.0614 | 0.0061 | -0.001 | 0.0014
F | 0.724 | 0.5188 | 0.4184 | 0.3744 | 0.3541 | 0.3039 | 0.0546 | 0.0176 | 0.003 | 0.0396
G
R2=0.9892 | 6.123 | 28.3033 | 9.1967 | 14.8361 | 2.7213 | -2.041 | 9.9426 | -5.5656
| -6.1803 | -3.918 | -12.8607 | 8.9918 | -2.3525 | -2.3607 | 50.1639 | -9.2869
| -13.3361 | -13.4262 | -15.9672 | 14.3852 | -15.8361 | -14.8197 | -15.918 | -16.377
| -9.7377 | -12.8525 | -5.2541 | -12.5492 | -11.8279 | -16.6885 | -6.3033 | -17.0656
*90/30 | 551.0656 | 2547.2951 | 827.7049 | 1335.2459 | 81.6393 | -61.2295 | 298.2787 | -166.9672
R2=0.9717 | 12.6705 | 28.0455 | 14.8011 | 18.7102 | 10.3125 | 7.0114 | 15.3182 | 4.5682
| 4.142 | 5.7102 | -0.48864 | 14.6591 | 6.7955 | 6.7898 | 43.1989 | 1.9886
| -0.81818 | -0.88068 | -2.642 | 18.3977 | -2.5511 | -1.8466 | -2.608 | -2.9261
| 1.6761 | -0.48295 | 4.7841 | -0.27273 | 0.22727 | -3.142 | 4.0568 | -3.4034
*90/30 | 1140.3409 | 2524.0909 | 1332.1023 | 1683.9205 | 309.375 | 210.3409 | 459.5455 | 137.0455
| 1118.3523 | 1541.7614 | -131.9318 | 3957.9545 | 611.5909 | 611.0795 | 3887.8977 | 178.9773
| N57 Lung | ug/ml |  | N57 NT | ug/ml
| G3-1 | 0.55107 |  | G3-1 | 0.30937
| G3-2 | 2.5473 |  | G3-2 | 0.61108
| G3-3 | 0.8277 |  | G3-3 | 0.45955
| G3-4 | 1.3352 |  | G3-4 | 0.15801
MEAN |  | 1.3153 |  |  | 0.3845
STDV |  | 0.76486 |  |  | 0.16875
| 1.32±0.76 |  |  | 0.38±0.17

## Result summary
Results summary
General
Plate | Well | Group | Sample | Absorbance 1 (450nm)
Plate 1 | A01 | Group 1 | Un0001 | 0.3227
Plate 1 | B01 | Group 1 | Un0002 | 0.1726
Plate 1 | C01 | Group 1 | Un0003 | 0.0853
Plate 1 | D01 | Group 1 | Un0004 | 0.1292
Plate 1 | E01 | Group 1 | Un0005 | 0.9251
Plate 1 | F01 | Group 1 | Un0006 | 0.7606
Plate 1 | A02 | Group 1 | Un0007 | 0.5933
Plate 1 | B02 | Group 1 | Un0008 | 0.2002
Plate 1 | C02 | Group 1 | Un0009 | 0.0842
Plate 1 | D02 | Group 1 | Un0010 | 0.0912
Plate 1 | E02 | Group 1 | Un0011 | 0.6298
Plate 1 | F02 | Group 1 | Un0012 | 0.5554
Plate 1 | A03 | Group 1 | Un0013 | 0.3602
Plate 1 | B03 | Group 1 | Un0014 | 0.0911
Plate 1 | C03 | Group 1 | Un0015 | 0.0532
Plate 1 | D03 | Group 1 | Un0016 | 0.1839
Plate 1 | E03 | Group 1 | Un0017 | 0.3506
Plate 1 | F03 | Group 1 | Un0018 | 0.455
Plate 1 | A04 | Group 1 | Un0019 | 0.429
Plate 1 | B04 | Group 1 | Un0020 | 0.3577
Plate 1 | C04 | Group 1 | Un0021 | 0.4235
Plate 1 | D04 | Group 1 | Un0022 | 0.0949
Plate 1 | E04 | Group 1 | Un0023 | 0.1893
Plate 1 | F04 | Group 1 | Un0024 | 0.411
Plate 1 | A05 | Group 1 | Un0025 | 0.2812
Plate 1 | B05 | Group 1 | Un0026 | 0.2193
Plate 1 | C05 | Group 1 | Un0027 | 0.0548
Plate 1 | D05 | Group 1 | Un0028 | 0.1037
Plate 1 | E05 | Group 1 | Un0029 | 0.183
Plate 1 | F05 | Group 1 | Un0030 | 0.3907
Plate 1 | A06 | Group 1 | Un0031 | 0.2231
Plate 1 | B06 | Group 1 | Un0032 | 0.2192
Plate 1 | C06 | Group 1 | Un0033 | 0.0672
Plate 1 | D06 | Group 1 | Un0034 | 0.0444
Plate 1 | E06 | Group 1 | Un0035 | 0.3937
Plate 1 | F06 | Group 1 | Un0036 | 0.3405
Plate 1 | A07 | Group 1 | Un0037 | 0.3693
Plate 1 | B07 | Group 1 | Un0038 | 0.86
Plate 1 | C07 | Group 1 | Un0039 | 0.0538
Plate 1 | D07 | Group 1 | Un0040 | 0.1711
Plate 1 | E07 | Group 1 | Un0041 | 0.098
Plate 1 | F07 | Group 1 | Un0042 | 0.0912
Plate 1 | A08 | Group 1 | Un0043 | 0.1801
Plate 1 | B08 | Group 1 | Un0044 | 0.1347
Plate 1 | C08 | Group 1 | Un0045 | 0.0482
Plate 1 | D08 | Group 1 | Un0046 | 0.0398
Plate 1 | E08 | Group 1 | Un0047 | 0.0427
Plate 1 | F08 | Group 1 | Un0048 | 0.0542
Plate 1 | A09 | Group 1 | Un0049 | 0.245
Plate 1 | B09 | Group 1 | Un0050 | 0.458
Plate 1 | C09 | Group 1 | Un0051 | 0.0346
Plate 1 | D09 | Group 1 | Un0052 | 0.039
Plate 1 | E09 | Group 1 | Un0053 | 0.0356
Plate 1 | F09 | Group 1 | Un0054 | 0.0396
Plate 1 | A10 | Group 1 | Un0055 | 0.0412
Plate 1 | B10 | Group 1 | Un0056 | 0.036
Plate 1 | C10 | Group 1 | Un0057 | 0.0367
Plate 1 | D10 | Group 1 | Un0058 | 0.0319
Plate 1 | E10 | Group 1 | Un0059 | 0.038
Plate 1 | F10 | Group 1 | Un0060 | 0.0762

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20210119 homogene plate5 REPEAT3.xlsx.skax
Session notes
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 19/1/2021 3:04:12 pm
| User | DESKTOP-30EGL1K\AIDS Institute

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80224
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL1935804
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser 1 | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 1
| Use settle delay | Yes
| Check temperature at start [°C] | No
Absorbance 1
| Wavelength [nm] | 450
| Use transmittance | No
| Pathlength correction | No
| Measurement Time [ms] | 100

## Run log
Run log
| Time | Event | Information
| 19/1/2021 3:04:12 pm | Session 20210119 homogene plate5 REPEAT3.xlsx.skax started
| 19/1/2021 3:04:12 pm | Temperature | 22.7°C
| 19/1/2021 3:04:12 pm | Step Absorbance 1 started
| 19/1/2021 3:04:14 pm | Calibration | Photometric 1.0 10441
| 19/1/2021 3:04:37 pm | Step Absorbance 1 ended
| 19/1/2021 3:04:37 pm | Temperature | 22.8°C
| 19/1/2021 3:04:39 pm | Temperature | 22.7°C
| 19/1/2021 3:04:47 pm | Session 20210119 homogene plate5 REPEAT3.xlsx.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Un0001 | Un0007 | Un0013 | Un0019 | Un0025 | Un0031 | Un0037 | Un0043 | Un0049 | Un0055
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
B | Un0002 | Un0008 | Un0014 | Un0020 | Un0026 | Un0032 | Un0038 | Un0044 | Un0050 | Un0056
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C | Un0003 | Un0009 | Un0015 | Un0021 | Un0027 | Un0033 | Un0039 | Un0045 | Un0051 | Un0057
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D | Un0004 | Un0010 | Un0016 | Un0022 | Un0028 | Un0034 | Un0040 | Un0046 | Un0052 | Un0058
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E | Un0005 | Un0011 | Un0017 | Un0023 | Un0029 | Un0035 | Un0041 | Un0047 | Un0053 | Un0059
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F | Un0006 | Un0012 | Un0018 | Un0024 | Un0030 | Un0036 | Un0042 | Un0048 | Un0054 | Un0060
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G
H