## Luminescence 1_01
Measurement results
neutralizing hamster20200830 1-1 cell vialbility.skax
8/30/2020 6:31:50 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 325700 | 394900 | 410300 | 435900 | 428600 | 451900 | 464100 | 450300 | 386400 | 285100
C |  | 479500 | 606000 | 642900 | 694900 | 675900 | 691000 | 694900 | 710000 | 662200 | 504700
D |  | 618200 | 784500 | 812700 | 824300 | 841100 | 808200 | 784100 | 842100 | 793500 | 623700
E |  | 591000 | 766300 | 801000 | 803900 | 833300 | 803200 | 777700 | 789500 | 744000 | 591900
F |  | 590400 | 713400 | 757800 | 763400 | 744800 | 745100 | 737600 | 778400 | 715500 | 583200
G |  | 522500 | 613800 | 638100 | 639000 | 653800 | 645200 | 630400 | 644900 | 583000 | 467100
H
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  | Day0 |  |  |  | Day4 |  |  |  | Day4
B | 25 | 1-1 | 1-1 | 1-2 | 1-2 | 1-1 | 1-1 | 1-2 | 1-2 | 2-1 | 2-1
C | 75 | 1-1 | 1-1 | 1-2 | 1-2 | 1-1 | 1-1 | 1-2 | 1-2 | 2-1 | 2-1
D | 225 | 1-1 | 1-1 | 1-2 | 1-2 | 1-1 | 1-1 | 1-2 | 1-2 | 2-1 | 2-1
E | 675 | 1-1 | 1-1 | 1-2 | 1-2 | 1-1 | 1-1 | 1-2 | 1-2 | 2-1 | 2-1
F | 2025 | 1-1 | 1-1 | 1-2 | 1-2 | 1-1 | 1-1 | 1-2 | 1-2 | 2-1 | 2-1
G | 6075 | 1-1 | 1-1 | 1-2 | 1-2 | 1-1 | 1-1 | 1-2 | 1-2 | 2-1 | 2-1
H
Autoloading range A1 - M28

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | Un0001 | 325700
Plate 1 | C02 | Group 1 | Un0002 | 479500
Plate 1 | D02 | Group 1 | Un0003 | 618200
Plate 1 | E02 | Group 1 | Un0004 | 591000
Plate 1 | F02 | Group 1 | Un0005 | 590400
Plate 1 | G02 | Group 1 | Un0006 | 522500
Plate 1 | B03 | Group 1 | Un0007 | 394900
Plate 1 | C03 | Group 1 | Un0008 | 606000
Plate 1 | D03 | Group 1 | Un0009 | 784500
Plate 1 | E03 | Group 1 | Un0010 | 766300
Plate 1 | F03 | Group 1 | Un0011 | 713400
Plate 1 | G03 | Group 1 | Un0012 | 613800
Plate 1 | B04 | Group 1 | Un0013 | 410300
Plate 1 | C04 | Group 1 | Un0014 | 642900
Plate 1 | D04 | Group 1 | Un0015 | 812700
Plate 1 | E04 | Group 1 | Un0016 | 801000
Plate 1 | F04 | Group 1 | Un0017 | 757800
Plate 1 | G04 | Group 1 | Un0018 | 638100
Plate 1 | B05 | Group 1 | Un0019 | 435900
Plate 1 | C05 | Group 1 | Un0020 | 694900
Plate 1 | D05 | Group 1 | Un0021 | 824300
Plate 1 | E05 | Group 1 | Un0022 | 803900
Plate 1 | F05 | Group 1 | Un0023 | 763400
Plate 1 | G05 | Group 1 | Un0024 | 639000
Plate 1 | B06 | Group 1 | Un0025 | 428600
Plate 1 | C06 | Group 1 | Un0026 | 675900
Plate 1 | D06 | Group 1 | Un0027 | 841100
Plate 1 | E06 | Group 1 | Un0028 | 833300
Plate 1 | F06 | Group 1 | Un0029 | 744800
Plate 1 | G06 | Group 1 | Un0030 | 653800
Plate 1 | B07 | Group 1 | Un0031 | 451900
Plate 1 | C07 | Group 1 | Un0032 | 691000
Plate 1 | D07 | Group 1 | Un0033 | 808200
Plate 1 | E07 | Group 1 | Un0034 | 803200
Plate 1 | F07 | Group 1 | Un0035 | 745100
Plate 1 | G07 | Group 1 | Un0036 | 645200
Plate 1 | B08 | Group 1 | Un0037 | 464100
Plate 1 | C08 | Group 1 | Un0038 | 694900
Plate 1 | D08 | Group 1 | Un0039 | 784100
Plate 1 | E08 | Group 1 | Un0040 | 777700
Plate 1 | F08 | Group 1 | Un0041 | 737600
Plate 1 | G08 | Group 1 | Un0042 | 630400
Plate 1 | B09 | Group 1 | Un0043 | 450300
Plate 1 | C09 | Group 1 | Un0044 | 710000
Plate 1 | D09 | Group 1 | Un0045 | 842100
Plate 1 | E09 | Group 1 | Un0046 | 789500
Plate 1 | F09 | Group 1 | Un0047 | 778400
Plate 1 | G09 | Group 1 | Un0048 | 644900
Plate 1 | B10 | Group 1 | Un0049 | 386400
Plate 1 | C10 | Group 1 | Un0050 | 662200
Plate 1 | D10 | Group 1 | Un0051 | 793500
Plate 1 | E10 | Group 1 | Un0052 | 744000
Plate 1 | F10 | Group 1 | Un0053 | 715500
Plate 1 | G10 | Group 1 | Un0054 | 583000
Plate 1 | B11 | Group 1 | Un0055 | 285100
Plate 1 | C11 | Group 1 | Un0056 | 504700
Plate 1 | D11 | Group 1 | Un0057 | 623700
Plate 1 | E11 | Group 1 | Un0058 | 591900
Plate 1 | F11 | Group 1 | Un0059 | 583200
Plate 1 | G11 | Group 1 | Un0060 | 467100

## General information
General information
| Software version | SkanIt Software 6.0.1 for Microplate Readers RE, ver. 6.0.1.6
| Optical response compensation | Yes

## Session information
Session information
| Session name | neutralizing hamster20200830 1-1 cell vialbility.skax
Session notes
| Software version | SkanIt Software for Microplate Readers RE, ver. 6.0.1.6
| Execution time | 8/30/2020 6:31:50 PM
| User | DESKTOP-AOLF2JJ\User

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Serial number |  | 3020-80224
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL1935804
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser 1 | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 1
| Use settle delay | No
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 8/30/2020 6:31:50 PM | Session neutralizing hamster20200830 1-1 cell vialbility.skax started
| 8/30/2020 6:31:50 PM | Temperature | 24.1°C
| 8/30/2020 6:31:50 PM | Step Luminescence 1 started
| 8/30/2020 6:31:58 PM | Calibration | Luminometric 1.29211 360722
| 8/30/2020 6:32:00 PM | Temperature | 24.1°C
| 8/30/2020 6:33:00 PM | Temperature | 24.2°C
| 8/30/2020 6:33:09 PM | Step Luminescence 1 ended
| 8/30/2020 6:33:09 PM | Temperature | 24.2°C
| 8/30/2020 6:33:21 PM | Session neutralizing hamster20200830 1-1 cell vialbility.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | Un0001 | Un0007 | Un0013 | Un0019 | Un0025 | Un0031 | Un0037 | Un0043 | Un0049 | Un0055
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C |  | Un0002 | Un0008 | Un0014 | Un0020 | Un0026 | Un0032 | Un0038 | Un0044 | Un0050 | Un0056
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D |  | Un0003 | Un0009 | Un0015 | Un0021 | Un0027 | Un0033 | Un0039 | Un0045 | Un0051 | Un0057
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E |  | Un0004 | Un0010 | Un0016 | Un0022 | Un0028 | Un0034 | Un0040 | Un0046 | Un0052 | Un0058
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F |  | Un0005 | Un0011 | Un0017 | Un0023 | Un0029 | Un0035 | Un0041 | Un0047 | Un0053 | Un0059
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G |  | Un0006 | Un0012 | Un0018 | Un0024 | Un0030 | Un0036 | Un0042 | Un0048 | Un0054 | Un0060
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H