## Absorbance 1_01
Measurement results
20200601 n-Cov mAbs serial dilution Elisa.skax
6/1/2020 3:08:23 PM
Absorbance 1
Wavelength: 450 nm
Plate 1
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3.2831 | 2.9542 | 1.6495 | 0.5833 | 0.1612 | 0.0858 | 0.048 | 0.0761 | 0.0415 | 0.0525 | 0.0658 | 0.0645 | 0.056075 | 26.3 | 1.42 | 23.5 | 1.3711
B | 3.3784 | 3.1951 | 2.5397 | 1.3012 | 0.4563 | 0.1397 | 0.0917 | 0.125 | 0.1879 | 0.1608 | 0.1107 | 0.0427 |  | 2.63 | 0.41996 | 2.35 | 0.37107
C | 3.4925 | 3.37 | 3.1024 | 1.9297 | 0.6448 | 0.2261 | 0.1482 | 0.1646 | 0.1964 | 0.1609 | 0.1698 | 0.0441 |  | 0.263 | -0.58004 | 0.235 | -0.62893
D | 3.3638 | 3.1195 | 2.9795 | 1.6719 | 0.555 | 0.1603 | 0.1271 | 0.2104 | 0.1388 | 0.1026 | 0.111 | 0.0493 |  | 0.0263 | -1.58 | 0.0235 | -1.6289
E | 3.3325 | 3.1641 | 3.0291 | 2.0874 | 0.9397 | 0.3412 | 0.1552 | 0.1592 | 0.1318 | 0.1226 | 0.1072 | 0.1517 |  | 0.00263 | -2.58 | 0.00235 | -2.6289
F | 3.3983 | 3.2497 | 3.0117 | 2.1113 | 0.8113 | 0.2845 | 0.1261 | 0.0987 | 0.0957 | 0.0858 | 0.1756 | 0.0477 |  | 0.000263 | -3.58 | 0.000235 | -3.6289
G | 3.2639 | 3.1693 | 2.9803 | 2.0728 | 0.8379 | 0.2777 | 0.1349 | 0.1097 | 0.0988 | 0.1004 | 0.1539 | 0.0547 |  | 2.63e-05 | -4.58 | 2.35e-05 | -4.6289
H | 3.2892 | 3.1568 | 3.0052 | 2.0639 | 0.6782 | 0.1996 | 0.1006 | 0.0776 | 0.0883 | 0.241 | 0.6263 | 0.0595 |  | 2.63e-06 | -5.58 | 2.35e-06 | -5.6289
Sample | 1:100 | 1:103 | 1:104 | 1:105 | 1:106 | 1:107 | 1:108 | 1:109 | 1:1010 | 1:1011 | 1:1012 | 1:1013 |  | 16 | 1.2041 | 28.6 | 1.4564
No.20 | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD |  | 1.6 | 0.20412 | 2.86 | 0.45637
| Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD |  | 0.16 | -0.79588 | 0.286 | -0.54363
No.28 | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD |  | 0.016 | -1.7959 | 0.0286 | -1.5436
| Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD |  | 0.0016 | -2.7959 | 0.00286 | -2.5436
No.49 | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD |  | 0.00016 | -3.7959 | 0.000286 | -3.5436
| Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD |  | 1.6e-05 | -4.7959 | 2.86e-05 | -4.5436
No.95 | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD |  | 1.6e-06 | -5.7959 | 2.86e-06 | -5.5436
| Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD | Bio-RBD
Coating: bio-RBD 1ug/ml 50ul/well; mAbs concentration: No.20: 2.63(mg/ml); No.28:1.6(mg/ml); No.49:2.35(mg/ml); No.95:2.86(mg/ml); 4%PBS milk block; 2nd antibody: anti-human-IgG1-HRP:(1:4000), 50ul/well; substrate: T4,4,4,4 30ul/well; 0.5M H2SO4 10ul/well stop.
[14 empty] | 0.135 | -0.86967

## Result summary
Results summary
General
Plate | Well | Group | Sample | Absorbance 1 (450nm)
Plate 1 | A01 | Group 1 | Un0001 | 3.2831
Plate 1 | B01 | Group 1 | Un0013 | 3.3784
Plate 1 | C01 | Group 1 | Un0025 | 3.4925
Plate 1 | D01 | Group 1 | Un0037 | 3.3638
Plate 1 | E01 | Group 1 | Un0049 | 3.3325
Plate 1 | F01 | Group 1 | Un0061 | 3.3983
Plate 1 | G01 | Group 1 | Un0073 | 3.2639
Plate 1 | H01 | Group 1 | Un0085 | 3.2892
Plate 1 | A02 | Group 1 | Un0002 | 2.9542
Plate 1 | B02 | Group 1 | Un0014 | 3.1951
Plate 1 | C02 | Group 1 | Un0026 | 3.37
Plate 1 | D02 | Group 1 | Un0038 | 3.1195
Plate 1 | E02 | Group 1 | Un0050 | 3.1641
Plate 1 | F02 | Group 1 | Un0062 | 3.2497
Plate 1 | G02 | Group 1 | Un0074 | 3.1693
Plate 1 | H02 | Group 1 | Un0086 | 3.1568
Plate 1 | A03 | Group 1 | Un0003 | 1.6495
Plate 1 | B03 | Group 1 | Un0015 | 2.5397
Plate 1 | C03 | Group 1 | Un0027 | 3.1024
Plate 1 | D03 | Group 1 | Un0039 | 2.9795
Plate 1 | E03 | Group 1 | Un0051 | 3.0291
Plate 1 | F03 | Group 1 | Un0063 | 3.0117
Plate 1 | G03 | Group 1 | Un0075 | 2.9803
Plate 1 | H03 | Group 1 | Un0087 | 3.0052
Plate 1 | A04 | Group 1 | Un0004 | 0.5833
Plate 1 | B04 | Group 1 | Un0016 | 1.3012
Plate 1 | C04 | Group 1 | Un0028 | 1.9297
Plate 1 | D04 | Group 1 | Un0040 | 1.6719
Plate 1 | E04 | Group 1 | Un0052 | 2.0874
Plate 1 | F04 | Group 1 | Un0064 | 2.1113
Plate 1 | G04 | Group 1 | Un0076 | 2.0728
Plate 1 | H04 | Group 1 | Un0088 | 2.0639
Plate 1 | A05 | Group 1 | Un0005 | 0.1612
Plate 1 | B05 | Group 1 | Un0017 | 0.4563
Plate 1 | C05 | Group 1 | Un0029 | 0.6448
Plate 1 | D05 | Group 1 | Un0041 | 0.555
Plate 1 | E05 | Group 1 | Un0053 | 0.9397
Plate 1 | F05 | Group 1 | Un0065 | 0.8113
Plate 1 | G05 | Group 1 | Un0077 | 0.8379
Plate 1 | H05 | Group 1 | Un0089 | 0.6782
Plate 1 | A06 | Group 1 | Un0006 | 0.0858
Plate 1 | B06 | Group 1 | Un0018 | 0.1397
Plate 1 | C06 | Group 1 | Un0030 | 0.2261
Plate 1 | D06 | Group 1 | Un0042 | 0.1603
Plate 1 | E06 | Group 1 | Un0054 | 0.3412
Plate 1 | F06 | Group 1 | Un0066 | 0.2845
Plate 1 | G06 | Group 1 | Un0078 | 0.2777
Plate 1 | H06 | Group 1 | Un0090 | 0.1996
Plate 1 | A07 | Group 1 | Un0007 | 0.048
Plate 1 | B07 | Group 1 | Un0019 | 0.0917
Plate 1 | C07 | Group 1 | Un0031 | 0.1482
Plate 1 | D07 | Group 1 | Un0043 | 0.1271
Plate 1 | E07 | Group 1 | Un0055 | 0.1552
Plate 1 | F07 | Group 1 | Un0067 | 0.1261
Plate 1 | G07 | Group 1 | Un0079 | 0.1349
Plate 1 | H07 | Group 1 | Un0091 | 0.1006
Plate 1 | A08 | Group 1 | Un0008 | 0.0761
Plate 1 | B08 | Group 1 | Un0020 | 0.125
Plate 1 | C08 | Group 1 | Un0032 | 0.1646
Plate 1 | D08 | Group 1 | Un0044 | 0.2104
Plate 1 | E08 | Group 1 | Un0056 | 0.1592
Plate 1 | F08 | Group 1 | Un0068 | 0.0987
Plate 1 | G08 | Group 1 | Un0080 | 0.1097
Plate 1 | H08 | Group 1 | Un0092 | 0.0776
Plate 1 | A09 | Group 1 | Un0009 | 0.0415
Plate 1 | B09 | Group 1 | Un0021 | 0.1879
Plate 1 | C09 | Group 1 | Un0033 | 0.1964
Plate 1 | D09 | Group 1 | Un0045 | 0.1388
Plate 1 | E09 | Group 1 | Un0057 | 0.1318
Plate 1 | F09 | Group 1 | Un0069 | 0.0957
Plate 1 | G09 | Group 1 | Un0081 | 0.0988
Plate 1 | H09 | Group 1 | Un0093 | 0.0883
Plate 1 | A10 | Group 1 | Un0010 | 0.0525
Plate 1 | B10 | Group 1 | Un0022 | 0.1608
Plate 1 | C10 | Group 1 | Un0034 | 0.1609
Plate 1 | D10 | Group 1 | Un0046 | 0.1026
Plate 1 | E10 | Group 1 | Un0058 | 0.1226
Plate 1 | F10 | Group 1 | Un0070 | 0.0858
Plate 1 | G10 | Group 1 | Un0082 | 0.1004
Plate 1 | H10 | Group 1 | Un0094 | 0.241
Plate 1 | A11 | Group 1 | Un0011 | 0.0658
Plate 1 | B11 | Group 1 | Un0023 | 0.1107
Plate 1 | C11 | Group 1 | Un0035 | 0.1698
Plate 1 | D11 | Group 1 | Un0047 | 0.111
Plate 1 | E11 | Group 1 | Un0059 | 0.1072
Plate 1 | F11 | Group 1 | Un0071 | 0.1756
Plate 1 | G11 | Group 1 | Un0083 | 0.1539
Plate 1 | H11 | Group 1 | Un0095 | 0.6263
Plate 1 | A12 | Group 1 | Un0012 | 0.0645
Plate 1 | B12 | Group 1 | Un0024 | 0.0427
Plate 1 | C12 | Group 1 | Un0036 | 0.0441
Plate 1 | D12 | Group 1 | Un0048 | 0.0493
Plate 1 | E12 | Group 1 | Un0060 | 0.1517
Plate 1 | F12 | Group 1 | Un0072 | 0.0477
Plate 1 | G12 | Group 1 | Un0084 | 0.0547
Plate 1 | H12 | Group 1 | Un0096 | 0.0595

## General information
General information
| Software version | SkanIt Software 6.0.1 for Microplate Readers RE, ver. 6.0.1.6
| Optical response compensation | Yes

## Session information
Session information
| Session name | 20200601 n-Cov mAbs serial dilution Elisa.skax
Session notes
| Software version | SkanIt Software for Microplate Readers RE, ver. 6.0.1.6
| Execution time | 6/1/2020 3:08:23 PM
| User | DESKTOP-AOLF2JJ\User

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Serial number |  | 3020-80224
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL1935804
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser 1 | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 1
| Use settle delay | No
| Check temperature at start [°C] | No
Absorbance 1
| Wavelength [nm] | 450
| Use transmittance | No
| Pathlength correction | No
| Measurement Time [ms] | 100

## Run log
Run log
| Time | Event | Information
| 6/1/2020 3:08:23 PM | Session 20200601 n-Cov mAbs serial dilution Elisa.skax started
| 6/1/2020 3:08:23 PM | Temperature | 23.6°C
| 6/1/2020 3:08:23 PM | Step Absorbance 1 started
| 6/1/2020 3:08:25 PM | Calibration | Photometric 1.0 13579
| 6/1/2020 3:08:51 PM | Step Absorbance 1 ended
| 6/1/2020 3:08:51 PM | Temperature | 23.6°C
| 6/1/2020 3:09:02 PM | Session 20200601 n-Cov mAbs serial dilution Elisa.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Un0001 | Un0002 | Un0003 | Un0004 | Un0005 | Un0006 | Un0007 | Un0008 | Un0009 | Un0010 | Un0011 | Un0012
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
B | Un0013 | Un0014 | Un0015 | Un0016 | Un0017 | Un0018 | Un0019 | Un0020 | Un0021 | Un0022 | Un0023 | Un0024
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C | Un0025 | Un0026 | Un0027 | Un0028 | Un0029 | Un0030 | Un0031 | Un0032 | Un0033 | Un0034 | Un0035 | Un0036
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D | Un0037 | Un0038 | Un0039 | Un0040 | Un0041 | Un0042 | Un0043 | Un0044 | Un0045 | Un0046 | Un0047 | Un0048
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E | Un0049 | Un0050 | Un0051 | Un0052 | Un0053 | Un0054 | Un0055 | Un0056 | Un0057 | Un0058 | Un0059 | Un0060
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F | Un0061 | Un0062 | Un0063 | Un0064 | Un0065 | Un0066 | Un0067 | Un0068 | Un0069 | Un0070 | Un0071 | Un0072
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G | Un0073 | Un0074 | Un0075 | Un0076 | Un0077 | Un0078 | Un0079 | Un0080 | Un0081 | Un0082 | Un0083 | Un0084
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H | Un0085 | Un0086 | Un0087 | Un0088 | Un0089 | Un0090 | Un0091 | Un0092 | Un0093 | Un0094 | Un0095 | Un0096
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1