## input
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 |  | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 |  |  | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 |  |  | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1 | ¦ | ASAP 2020 V4.03 (V4.03 J) | Unit 1 | Serial #: 2083 | Page 1
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Sample: | ZY-CN-NaCl-5 |  |  | ¦ | Sample: | ZY-CN-NaCl-5 |  |  |  | ¦ | Sample: | ZY-CN-NaCl-5 |  |  | ¦ | Sample: | ZY-CN-NaCl-5 |  |  | ¦ | Sample: | ZY-CN-NaCl-5 |  |  | ¦ | Sample: | ZY-CN-NaCl-5 |  |  | ¦ | Sample: | ZY-CN-NaCl-5 |  |  | ¦ | Sample: | ZY-CN-NaCl-5 |  |  |  |  | ¦ | Sample: | ZY-CN-NaCl-5 |  |  | ¦ | Sample: | ZY-CN-NaCl-5 |  |  | ¦ | Sample: | ZY-CN-NaCl-5 |  |  | ¦ | Sample: | ZY-CN-NaCl-5 |  |  |  |  | ¦ | Sample: | ZY-CN-NaCl-5 |  |  | ¦ | Sample: | ZY-CN-NaCl-5 |  |  | ¦ | Sample: | ZY-CN-NaCl-5
Operator: |  |  |  | ¦ | Operator: |  |  |  |  | ¦ | Operator: |  |  |  | ¦ | Operator: |  |  |  | ¦ | Operator: |  |  |  | ¦ | Operator: |  |  |  | ¦ | Operator: |  |  |  | ¦ | Operator: | [5 empty] | ¦ | Operator: |  |  |  | ¦ | Operator: |  |  |  | ¦ | Operator: |  |  |  | ¦ | Operator: | [5 empty] | ¦ | Operator: |  |  |  | ¦ | Operator: |  |  |  | ¦ | Operator:
Submitter: |  |  |  | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: |  |  |  | ¦ | Submitter: |  |  |  | ¦ | Submitter: |  |  |  | ¦ | Submitter: |  |  |  | ¦ | Submitter: |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter: |  |  |  | ¦ | Submitter: |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: | D:\2020\DATA\2021\001-369.SMP |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP |  |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP |  |  |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP |  |  |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP |  |  | ¦ | File: | D:\2020\DATA\2021\001-369.SMP
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 |  | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 |  |  | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 |  |  | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2 | ¦ | Started: | 4/20/2021 6:15:36PM | Analysis Adsorptive: | N2
Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K |  | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K |  |  | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K |  |  | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K | ¦ | Completed: | 4/20/2021 10:18:28PM | Analysis Bath Temp.: | 77.373 K
Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No |  | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No |  |  | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No |  |  | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No | ¦ | Report Time: | 4/22/2021 8:00:32AM | Thermal Correction: | No
Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured |  | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured |  |  | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured |  |  | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured | ¦ | Sample Mass: | 0.0817 g | Warm Free Space: | 16.5839 cm³ Measured
Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s |  | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s |  |  | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s |  |  | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s | ¦ | Cold Free Space: | 48.1678 cm³ | Equilibration Interval: | 10 s
Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None |  | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None |  |  | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None |  |  | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None | ¦ | Ambient Temperature: | 22.00 °C | Low Pressure Dose: | None
Automatic Degas: | Yes |  |  | ¦ | Automatic Degas: | Yes |  |  |  | ¦ | Automatic Degas: | Yes |  |  | ¦ | Automatic Degas: | Yes |  |  | ¦ | Automatic Degas: | Yes |  |  | ¦ | Automatic Degas: | Yes |  |  | ¦ | Automatic Degas: | Yes |  |  | ¦ | Automatic Degas: | Yes |  |  |  |  | ¦ | Automatic Degas: | Yes |  |  | ¦ | Automatic Degas: | Yes |  |  | ¦ | Automatic Degas: | Yes |  |  | ¦ | Automatic Degas: | Yes |  |  |  |  | ¦ | Automatic Degas: | Yes |  |  | ¦ | Automatic Degas: | Yes |  |  | ¦ | Automatic Degas: | Yes
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Summary Report |  |  |  | ¦ | Isotherm Tabular Report |  |  |  |  | ¦ | Isotherm Linear Plot |  |  |  | ¦ | BET Surface Area Report |  |  |  | ¦ | BET Surface Area Plot |  |  |  | ¦ | t-Plot Report |  |  |  | ¦ | t-Plot |  |  |  | ¦ | BJH Adsorption Pore Distribution Report | [5 empty] | ¦ | BJH Adsorption Cumulative Pore Volume (Larger) |  |  |  | ¦ | BJH Adsorption dV/dD Pore Volume |  |  |  | ¦ | BJH Adsorption dV/dlog(D) Pore Volume |  |  |  | ¦ | BJH Desorption Pore Distribution Report | [5 empty] | ¦ | BJH Desorption Cumulative Pore Volume (Larger) |  |  |  | ¦ | BJH Desorption dV/dD Pore Volume |  |  |  | ¦ | BJH Desorption dV/dlog(D) Pore Volume
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | Harkins and Jura |  |  |  | ¦ | [6 empty] | ¦ | Halsey : Faas Correction |  |  |  | ¦ | Halsey : Faas Correction |  |  |  | ¦ | Halsey : Faas Correction |  |  |  | ¦ | [6 empty] | ¦ | Halsey : Faas Correction |  |  |  | ¦ | Halsey : Faas Correction |  |  |  | ¦ | Halsey : Faas Correction
|  |  |  | ¦ | Relative Pressure (P/Po) | Absolute Pressure (mmHg) | Quantity Adsorbed (cm³/g STP) | Elapsed Time (h:min) | Saturation Pressure (mmHg) | ¦ |  |  |  |  | ¦ | BET Surface Area: | 21.1754 ± 0.1987 m²/g |  |  | ¦ |  |  |  |  | ¦ | Micropore Volume: | 0.002085 cm³/g |  |  | ¦ |  |  |  |  | ¦ | Faas Correction | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | Faas Correction | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ |  |  |  | 00:58 | 761.635 | ¦ | ZY-CN-NaCl-5 - Adsorption |  | ZY-CN-NaCl-5 - Desorption |  | ¦ | Slope: | 0.205556 ± 0.001895 g/cm³ STP |  |  | ¦ | ZY-CN-NaCl-5 |  |  |  | ¦ | Micropore Area: | 4.1843 m²/g |  |  | ¦ | ZY-CN-NaCl-5 |  |  |  | ¦ | Halsey | [5 empty] | ¦ | ZY-CN-NaCl-5 |  |  |  | ¦ | ZY-CN-NaCl-5 |  |  |  | ¦ | ZY-CN-NaCl-5 |  |  |  | ¦ | Halsey | [5 empty] | ¦ | ZY-CN-NaCl-5 |  |  |  | ¦ | ZY-CN-NaCl-5 |  |  |  | ¦ | ZY-CN-NaCl-5
Surface Area |  |  |  | ¦ | 0.052931 | 40.3182 | 4.9227 | 01:13 |  | ¦ | Relative Pressure (P/Po) | Quantity Adsorbed (cm³/g STP) | Relative Pressure (P/Po) | Quantity Adsorbed (cm³/g STP) | ¦ | Y-Intercept: | 0.000022 ± 0.000361 g/cm³ STP |  |  | ¦ | Relative Pressure (P/Po) | 1/[Q(Po/P - 1)] |  |  | ¦ | External Surface Area: | 16.9911 m²/g |  |  | ¦ | Thickness (nm) | Quantity Adsorbed (cm³/g STP) |  |  | ¦ | t = 3.54 [ -5 / ln(P/Po) ] ^ 0.333 | [5 empty] | ¦ | Pore Diameter (nm) | Pore Volume (cm³/g) |  |  | ¦ | Pore Diameter (nm) | Pore Volume (cm³/g·nm) |  |  | ¦ | Pore Diameter (nm) | dV/dlog(D) Pore Volume (cm³/g) |  |  | ¦ | t = 3.54 [ -5 / ln(P/Po) ] ^ 0.333 | [5 empty] | ¦ | Pore Diameter (nm) | Pore Volume (cm³/g) |  |  | ¦ | Pore Diameter (nm) | Pore Volume (cm³/g·nm) |  |  | ¦ | Pore Diameter (nm) | dV/dlog(D) Pore Volume (cm³/g)
|  |  |  | ¦ | 0.084875 | 64.651 | 5.2641 | 01:15 |  | ¦ | 0.052931 | 4.9227 | 0.98807 | 36.9117 | ¦ | C: | 9140.133946 |  |  | ¦ | 0.052931 | 0.011353 |  |  | ¦ | Slope: | 10.984688 ± 0.050546 cm³/g·nm STP |  |  | ¦ | 0.35578 | 5.2641 |  |  | ¦ | [6 empty] | ¦ | 48.6428 | 0.026488 |  |  | ¦ | 57.3288 | 0.00022918 |  |  | ¦ | 57.3288 | 0.050129 |  |  | ¦ | [6 empty] | ¦ | 42.0035 | 0.021821 |  |  | ¦ | 49.0014 | 0.00017913 |  |  | ¦ | 49.0014 | 0.036917
Single point surface area at P/Po = 0.294946653: | 20.9447 m²/g |  |  | ¦ | 0.12005 | 91.4473 | 5.5505 | 01:18 |  | ¦ | 0.084875 | 5.2641 | 0.95231 | 24.4762 | ¦ | Qm: | 4.8643 cm³/g STP |  |  | ¦ | 0.084875 | 0.017619 |  |  | ¦ | Y-Intercept: | 1.348175 ± 0.021808 cm³/g STP |  |  | ¦ | 0.38282 | 5.5505 |  |  | ¦ | [6 empty] | ¦ | 27.4567 | 0.033841 |  |  | ¦ | 32.3222 | 0.00034706 |  |  | ¦ | 32.3222 | 0.029604 |  |  | ¦ | [6 empty] | ¦ | 23.0826 | 0.032677 |  |  | ¦ | 27.2698 | 0.00057377 |  |  | ¦ | 27.2698 | 0.041754
|  |  |  | ¦ | 0.1549 | 117.9948 | 5.8171 | 01:20 |  | ¦ | 0.12005 | 5.5505 | 0.9121 | 18.281 | ¦ | Correlation Coefficient: | 0.9997451 |  |  | ¦ | 0.12005 | 0.02458 |  |  | ¦ | Correlation Coefficient: | 0.999947 |  |  | ¦ | 0.40715 | 5.8171 |  |  | ¦ | Diameter Range: | 1.7000 nm to 300.0000 nm |  |  |  |  | ¦ | 18.9776 | 0.037471 |  |  | ¦ | 21.6091 | 0.00042801 |  |  | ¦ | 21.6091 | 0.022625 |  |  | ¦ | Diameter Range: | 1.7000 nm to 300.0000 nm |  |  |  |  | ¦ | 16.2168 | 0.03708 |  |  | ¦ | 18.414 | 0.00064121 |  |  | ¦ | 18.414 | 0.028714
BET Surface Area: | 21.1754 m²/g |  |  | ¦ | 0.18991 | 144.6667 | 6.0728 | 01:22 |  | ¦ | 0.1549 | 5.8171 | 0.87413 | 15.7073 | ¦ | Molecular Cross-Sectional Area: | 0.1620 nm² |  |  | ¦ | 0.1549 | 0.031509 |  |  | ¦ | Surface Area Correction Factor: | 1.000 |  |  | ¦ | 0.43034 | 6.0728 |  |  | ¦ | Adsorbate Property Factor: | 0.95300 nm |  |  |  |  | ¦ | 14.5407 | 0.039865 |  |  | ¦ | 16.1265 | 0.00053977 |  |  | ¦ | 16.1265 | 0.020707 |  |  | ¦ | Adsorbate Property Factor: | 0.95300 nm |  |  |  |  | ¦ | 12.568 | 0.039746 |  |  | ¦ | 13.9023 | 0.00073065 |  |  | ¦ | 13.9023 | 0.024083
|  |  |  | ¦ | 0.22484 | 171.278 | 6.3148 | 01:24 |  | ¦ | 0.18991 | 6.0728 | 0.83723 | 14.1367 | ¦ |  |  |  |  | ¦ | 0.18991 | 0.038604 |  |  | ¦ | Density Conversion Factor: | 0.0015468 |  |  | ¦ | 0.45288 | 6.3148 |  |  | ¦ | Density Conversion Factor: | 0.0015468 |  |  |  |  | ¦ | 11.7884 | 0.041723 |  |  | ¦ | 12.8468 | 0.00067487 |  |  | ¦ | 12.8468 | 0.020382 |  |  | ¦ | Density Conversion Factor: | 0.0015468 |  |  |  |  | ¦ | 10.3791 | 0.041562 |  |  | ¦ | 11.2482 | 0.00082998 |  |  | ¦ | 11.2482 | 0.02186
t-Plot Micropore Area: | 4.1843 m²/g |  |  | ¦ | 0.25983 | 197.9298 | 6.5718 | 01:27 |  | ¦ | 0.22484 | 6.3148 | 0.80297 | 13.0653 | ¦ |  |  |  |  | ¦ | 0.22484 | 0.045934 |  |  | ¦ | Total Surface Area (BET): | 21.1754 m²/g |  |  | ¦ | 0.47528 | 6.5718 |  |  | ¦ | Fraction of Pores Open at Both Ends: | 0.00 |  |  |  |  | ¦ | 9.9388 | 0.043236 |  |  | ¦ | 10.6862 | 0.0008182 |  |  | ¦ | 10.6862 | 0.020417 |  |  | ¦ | Fraction of Pores Open at Both Ends: | 0.00 |  |  |  |  | ¦ | 9.5594 | 0.042386 |  |  | ¦ | 9.9323 | 0.0010052 |  |  | ¦ | 9.9323 | 0.023062
|  |  |  | ¦ | 0.29495 | 224.6865 | 6.8241 | 01:29 |  | ¦ | 0.25983 | 6.5718 | 0.78626 | 12.5901 | ¦ | Relative Pressure (P/Po) | Quantity Adsorbed (cm³/g STP) | 1/[Q(Po/P - 1)] |  | ¦ | 0.25983 | 0.053416 |  |  | ¦ | Thickness Range: | 0.35000 nm to 0.50000 nm |  |  | ¦ | 0.49793 | 6.8241 |  |  | ¦ | [6 empty] | ¦ | 8.5739 | 0.044506 |  |  | ¦ | 9.141 | 0.00093044 |  |  | ¦ | 9.141 | 0.019795 |  |  | ¦ | [6 empty] | ¦ | 8.1688 | 0.043731 |  |  | ¦ | 8.7445 | 0.00096739 |  |  | ¦ | 8.7445 | 0.019704
t-Plot External Surface Area: | 16.9911 m²/g |  |  | ¦ | 0.32979 | 251.2302 | 7.0928 | 01:31 |  | ¦ | 0.29495 | 6.8241 | 0.75068 | 11.7959 | ¦ | 0.052931 | 4.9227 | 0.011353 |  | ¦ | 0.29495 | 0.061302 |  |  | ¦ | Thickness Equation: | Harkins and Jura |  |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦ | 7.5281 | 0.045622 |  |  | ¦ | 7.9719 | 0.0010675 |  |  | ¦ | 7.9719 | 0.019761 |  |  | ¦ | [6 empty] | ¦ | 7.1437 | 0.044882 |  |  | ¦ | 7.5802 | 0.0011227 |  |  | ¦ | 7.5802 | 0.019763
|  |  |  | ¦ | 0.36479 | 277.8974 | 7.366 | 01:33 |  | ¦ | 0.32979 | 7.0928 | 0.71626 | 11.1268 | ¦ | 0.084875 | 5.2641 | 0.017619 |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | Pore Diameter Range (nm) | Average Diameter (nm) | Incremental Pore Volume (cm³/g) | Cumulative Pore Volume (cm³/g) | Incremental Pore Area (m²/g) | Cumulative Pore Area (m²/g) | ¦ | 6.6956 | 0.04661 |  |  | ¦ | 7.0542 | 0.0011856 |  |  | ¦ | 7.0542 | 0.019393 |  |  | ¦ | Pore Diameter Range (nm) | Average Diameter (nm) | Incremental Pore Volume (cm³/g) | Cumulative Pore Volume (cm³/g) | Incremental Pore Area (m²/g) | Cumulative Pore Area (m²/g) | ¦ | 6.3128 | 0.045933 |  |  | ¦ | 6.671 | 0.0012642 |  |  | ¦ | 6.671 | 0.01956
|  |  |  | ¦ | 0.39955 | 304.3875 | 7.652 | 01:36 |  | ¦ | 0.36479 | 7.366 | 0.68098 | 10.5225 | ¦ | 0.12005 | 5.5505 | 0.02458 |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | 164.2 - 48.6 | 57.3288 | 0.026488 | 0.026488 | 1.8482 | 1.8482 | ¦ | 6.0389 | 0.047493 |  |  | ¦ | 6.3266 | 0.0013455 |  |  | ¦ | 6.3266 | 0.019709 |  |  | ¦ | 163.8 - 42.0 | 49.0014 | 0.021821 | 0.021821 | 1.7813 | 1.7813 | ¦ | 5.641 | 0.046869 |  |  | ¦ | 5.9345 | 0.0013942 |  |  | ¦ | 5.9345 | 0.019168
|  |  |  | ¦ | 0.43459 | 331.0844 | 7.9519 | 01:38 |  | ¦ | 0.39955 | 7.652 | 0.6458 | 9.9867 | ¦ | 0.1549 | 5.8171 | 0.031509 |  | ¦ |  |  |  |  | ¦ | t = [ 13.99 / ( 0.034 - log(P/Po) ) ] ^ 0.5 |  |  |  | ¦ |  |  |  |  | ¦ | 48.6 - 27.5 | 32.3222 | 0.0073529 | 0.033841 | 0.90995 | 2.7581 | ¦ | 5.4896 | 0.048309 |  |  | ¦ | 5.7324 | 0.0014854 |  |  | ¦ | 5.7324 | 0.0197 |  |  | ¦ | 42.0 - 23.1 | 27.2698 | 0.010856 | 0.032677 | 1.5924 | 3.3737 | ¦ | 5.0625 | 0.047735 |  |  | ¦ | 5.3164 | 0.0014963 |  |  | ¦ | 5.3164 | 0.018421
Pore Volume |  |  |  | ¦ | 0.46962 | 357.7776 | 8.2578 | 01:40 |  | ¦ | 0.43459 | 7.9519 | 0.60918 | 9.4907 | ¦ | 0.18991 | 6.0728 | 0.038604 |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | 27.5 - 19.0 | 21.6091 | 0.0036292 | 0.037471 | 0.67179 | 3.4299 | ¦ | 5.0148 | 0.049049 |  |  | ¦ | 5.2258 | 0.0015576 |  |  | ¦ | 5.2258 | 0.018824 |  |  | ¦ | 23.1 - 16.2 | 18.414 | 0.0044024 | 0.03708 | 0.95631 | 4.33 | ¦ | 4.6125 | 0.048457 |  |  | ¦ | 4.8136 | 0.0016051 |  |  | ¦ | 4.8136 | 0.017865
|  |  |  | ¦ | 0.50443 | 384.3032 | 8.5667 | 01:43 |  | ¦ | 0.46962 | 8.2578 | 0.57551 | 9.0764 | ¦ | 0.22484 | 6.3148 | 0.045934 |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | 19.0 - 14.5 | 16.1265 | 0.0023949 | 0.039865 | 0.59402 | 4.0239 | ¦ | 4.6097 | 0.049746 |  |  | ¦ | 4.7909 | 0.0017217 |  |  | ¦ | 4.7909 | 0.019066 |  |  | ¦ | 16.2 - 12.6 | 13.9023 | 0.002666 | 0.039746 | 0.76707 | 5.0971 | ¦ | 4.1948 | 0.049326 |  |  | ¦ | 4.3809 | 0.0020805 |  |  | ¦ | 4.3809 | 0.02108
Single point adsorption total pore volume of pores |  |  |  | ¦ | 0.54065 | 411.9017 | 8.8892 | 01:45 |  | ¦ | 0.50443 | 8.5667 | 0.53921 | 8.6103 | ¦ | 0.25983 | 6.5718 | 0.053416 |  | ¦ |  |  |  |  | ¦ | Relative Pressure (P/Po) | Statistical Thickness (nm) | Quantity Adsorbed (cm³/g STP) | Fitted | ¦ |  |  |  |  | ¦ | 14.5 - 11.8 | 12.8468 | 0.0018575 | 0.041723 | 0.57834 | 4.6023 | ¦ | 4.2459 | 0.050425 |  |  | ¦ | 4.4089 | 0.0018661 |  |  | ¦ | 4.4089 | 0.019015 |  |  | ¦ | 12.6 - 10.4 | 11.2482 | 0.0018168 | 0.041562 | 0.64607 | 5.7431 | ¦ | 3.8514 | 0.050042 |  |  | ¦ | 4.0062 | 0.0020839 |  |  | ¦ | 4.0062 | 0.019293
less than 164.1337 nm diameter at P/Po = 0.988073402: | 0.057095 cm³/g |  |  | ¦ | 0.57574 | 438.648 | 9.2253 | 01:48 |  | ¦ | 0.54065 | 8.8892 | 0.50496 | 8.2171 | ¦ | 0.29495 | 6.8241 | 0.061302 |  | ¦ |  |  |  |  | ¦ | 0.052931 | 0.32676 | 4.9227 |  | ¦ |  |  |  |  | ¦ | 11.8 - 9.9 | 10.6862 | 0.0015133 | 0.043236 | 0.56647 | 5.1687 | ¦ | 3.9378 | 0.051111 |  |  | ¦ | 4.077 | 0.0022255 |  |  | ¦ | 4.077 | 0.020958 |  |  | ¦ | 10.4 - 9.6 | 9.9323 | 0.00082391 | 0.042386 | 0.33181 | 6.0749 | ¦ | 3.3867 | 0.051262 |  |  | ¦ | 3.5846 | 0.002626 |  |  | ¦ | 3.5846 | 0.021853
|  |  |  | ¦ | 0.61109 | 465.5854 | 9.5892 | 01:50 |  | ¦ | 0.57574 | 9.2253 | 0.45092 | 7.5831 | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | 0.084875 | 0.35578 | 5.2641 | * | ¦ |  |  |  |  | ¦ | 9.9 - 8.6 | 9.141 | 0.0012699 | 0.044506 | 0.55571 | 5.7245 | ¦ | 3.6607 | 0.051816 |  |  | ¦ | 3.7861 | 0.0025453 |  |  | ¦ | 3.7861 | 0.022256 |  |  | ¦ | 9.6 - 8.2 | 8.7445 | 0.0013453 | 0.043731 | 0.61536 | 6.6903 | ¦ | 3.1238 | 0.052067 |  |  | ¦ | 3.2428 | 0.0030587 |  |  | ¦ | 3.2428 | 0.022913
t-Plot micropore volume: | 0.002085 cm³/g |  |  | ¦ | 0.64571 | 491.971 | 9.9911 | 01:53 |  | ¦ | 0.61109 | 9.5892 | 0.41575 | 7.1748 | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | 0.12005 | 0.38282 | 5.5505 | * | ¦ |  |  |  |  | ¦ | 8.6 - 7.5 | 7.9719 | 0.0011164 | 0.045622 | 0.56014 | 6.2846 | ¦ | 3.4106 | 0.052528 |  |  | ¦ | 3.524 | 0.0028481 |  |  | ¦ | 3.524 | 0.023177 |  |  | ¦ | 8.2 - 7.1 | 7.5802 | 0.001151 | 0.044882 | 0.60735 | 7.2976 | ¦ | 2.8867 | 0.052677 |  |  | ¦ | 2.9943 | 0.0025766 |  |  | ¦ | 2.9943 | 0.01782
|  |  |  | ¦ | 0.68018 | 518.2411 | 10.4343 | 01:55 |  | ¦ | 0.64571 | 9.9911 | 0.3808 | 6.8324 | ¦ | [9 empty] | ¦ | 0.1549 | 0.40715 | 5.8171 | * | ¦ |  |  |  |  | ¦ | 7.5 - 6.7 | 7.0542 | 0.0009871 | 0.04661 | 0.55972 | 6.8443 | ¦ | 3.1845 | 0.053213 |  |  | ¦ | 3.2872 | 0.003026 |  |  | ¦ | 3.2872 | 0.022967 |  |  | ¦ | 7.1 - 6.3 | 6.671 | 0.0010503 | 0.045933 | 0.62978 | 7.9274 | ¦ | 2.6688 | 0.053303 |  |  | ¦ | 2.7677 | 0.0028716 |  |  | ¦ | 2.7677 | 0.018357
|  |  |  | ¦ | 0.71569 | 545.3041 | 10.9415 | 01:58 |  | ¦ | 0.68018 | 10.4343 | 0.34571 | 6.4882 | ¦ | [9 empty] | ¦ | 0.18991 | 0.43034 | 6.0728 | * | ¦ |  |  |  |  | ¦ | 6.7 - 6.0 | 6.3266 | 0.00088354 | 0.047493 | 0.55862 | 7.4029 | ¦ | 2.9749 | 0.053859 |  |  | ¦ | 3.07 | 0.0030848 |  |  | ¦ | 3.07 | 0.021867 |  |  | ¦ | 6.3 - 5.6 | 5.9345 | 0.00093667 | 0.046869 | 0.63134 | 8.5588 | ¦ | 2.4677 | 0.053919 |  |  | ¦ | 2.559 | 0.0030636 |  |  | ¦ | 2.559 | 0.018108
|  |  |  | ¦ | 0.75085 | 572.1046 | 11.5243 | 02:01 |  | ¦ | 0.71569 | 10.9415 | 0.31072 | 6.1489 | ¦ | [9 empty] | ¦ | 0.22484 | 0.45288 | 6.3148 | * | ¦ |  |  |  |  | ¦ | 6.0 - 5.5 | 5.7324 | 0.00081591 | 0.048309 | 0.56933 | 7.9723 | ¦ | 2.781 | 0.054505 |  |  | ¦ | 2.869 | 0.0033298 |  |  | ¦ | 2.869 | 0.022058 |  |  | ¦ | 5.6 - 5.1 | 5.3164 | 0.00086563 | 0.047735 | 0.6513 | 9.2101 | ¦ | 2.2801 | 0.054515 |  |  | ¦ | 2.3651 | 0.0031793 |  |  | ¦ | 2.3651 | 0.017369
Pore Size |  |  |  | ¦ | 0.78582 | 598.7549 | 12.2023 | 02:03 |  | ¦ | 0.75085 | 11.5243 | 0.27578 | 5.8149 | ¦ | [9 empty] | ¦ | 0.25983 | 0.47528 | 6.5718 | * | ¦ |  |  |  |  | ¦ | 5.5 - 5.0 | 5.2258 | 0.00073959 | 0.049049 | 0.56611 | 8.5384 | ¦ | 2.5975 | 0.055073 |  |  | ¦ | 2.6806 | 0.0030983 |  |  | ¦ | 2.6806 | 0.019178 |  |  | ¦ | 5.1 - 4.6 | 4.8136 | 0.0007223 | 0.048457 | 0.60021 | 9.8103 | ¦ | 2.1026 | 0.055136 |  |  | ¦ | 2.1828 | 0.0034952 |  |  | ¦ | 2.1828 | 0.017626
|  |  |  | ¦ | 0.82036 | 625.0891 | 13.0243 | 02:06 |  | ¦ | 0.78582 | 12.2023 | 0.24078 | 5.4715 | ¦ | [9 empty] | ¦ | 0.29495 | 0.49793 | 6.8241 | * | ¦ |  |  |  |  | ¦ | 5.0 - 4.6 | 4.7909 | 0.00069746 | 0.049746 | 0.58231 | 9.1207 | ¦ | 2.424 | 0.055668 |  |  | ¦ | 2.5022 | 0.0034283 |  |  | ¦ | 2.5022 | 0.019812 |  |  | ¦ | 4.6 - 4.2 | 4.3809 | 0.00086895 | 0.049326 | 0.79339 | 10.6037 | ¦ | 1.9328 | 0.055684 |  |  | ¦ | 2.0092 | 0.00323 |  |  | ¦ | 2.0092 | 0.014997
Adsorption average pore width (4V/A by BET): | 10.78515 nm |  |  | ¦ | 0.85544 | 651.8281 | 14.0612 | 02:08 |  | ¦ | 0.82036 | 13.0243 | 0.20578 | 5.1411 | ¦ | [9 empty] | ¦ | 0.32979 | 0.52081 | 7.0928 |  | ¦ |  |  |  |  | ¦ | 4.6 - 4.2 | 4.4089 | 0.00067882 | 0.050425 | 0.61587 | 9.7366 | ¦ | 2.257 | 0.056165 |  |  | ¦ | 2.3319 | 0.0029747 |  |  | ¦ | 2.3319 | 0.016024 |  |  | ¦ | 4.2 - 3.9 | 4.0062 | 0.00071553 | 0.050042 | 0.71442 | 11.3181 | ¦ | 1.7678 | 0.056211 |  |  | ¦ | 1.8415 | 0.0031917 |  |  | ¦ | 1.8415 | 0.013589
|  |  |  | ¦ | 0.89035 | 678.442 | 15.4348 | 02:11 |  | ¦ | 0.85544 | 14.0612 | 0.1708 | 4.8063 | ¦ | [9 empty] | ¦ | 0.36479 | 0.54445 | 7.366 |  | ¦ |  |  |  |  | ¦ | 4.2 - 3.9 | 4.077 | 0.00068584 | 0.051111 | 0.67289 | 10.4095 | ¦ | 2.093 | 0.056701 |  |  | ¦ | 2.1659 | 0.0032672 |  |  | ¦ | 2.1659 | 0.016355 |  |  | ¦ | 3.9 - 3.4 | 3.5846 | 0.0012206 | 0.051262 | 1.362 | 12.6801 | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | 0.92526 | 705.0531 | 17.5545 | 02:14 |  | ¦ | 0.89035 | 15.4348 | 0.13581 | 4.4663 | ¦ | [9 empty] | ¦ | 0.39955 | 0.56879 | 7.652 |  | ¦ |  |  |  |  | ¦ | 3.9 - 3.7 | 3.7861 | 0.00070526 | 0.051816 | 0.74511 | 11.1546 | ¦ | 1.9291 | 0.057228 |  |  | ¦ | 2.001 | 0.003219 |  |  | ¦ | 2.001 | 0.014898 |  |  | ¦ | 3.4 - 3.1 | 3.2428 | 0.00080413 | 0.052067 | 0.99189 | 13.672 | ¦
|  |  |  | ¦ | 0.95861 | 730.4789 | 21.8464 | 02:17 |  | ¦ | 0.92526 | 17.5545 | 0.10247 | 4.1229 | ¦ | [9 empty] | ¦ | 0.43459 | 0.59444 | 7.9519 |  | ¦ |  |  |  |  | ¦ | 3.7 - 3.4 | 3.524 | 0.00071219 | 0.052528 | 0.80839 | 11.963 | ¦ | 1.7563 | 0.057704 |  |  | ¦ | 1.8303 | 0.0027517 |  |  | ¦ | 1.8303 | 0.011667 |  |  | ¦ | 3.1 - 2.9 | 2.9943 | 0.0006108 | 0.052677 | 0.81596 | 14.4879 | ¦
|  |  |  | ¦ | 0.98807 | 752.9679 | 36.9117 | 02:24 |  | ¦ | 0.95861 | 21.8464 | 0.072673 | 3.8128 | ¦ | [9 empty] | ¦ | 0.46962 | 0.62145 | 8.2578 |  | ¦ |  |  |  |  | ¦ | 3.4 - 3.2 | 3.2872 | 0.00068435 | 0.053213 | 0.83275 | 12.7957 | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ | 2.9 - 2.7 | 2.7677 | 0.0006258 | 0.053303 | 0.90444 | 15.3924 | ¦
|  |  |  | ¦ | 0.95231 | 725.7402 | 24.4762 | 02:29 |  | ¦ | 0.98807 | 36.9117 | 0.050165 | 3.5089 | ¦ | [9 empty] | ¦ | 0.50443 | 0.64993 | 8.5667 |  | ¦ |  |  |  |  | ¦ | 3.2 - 3.0 | 3.07 | 0.00064648 | 0.053859 | 0.84231 | 13.638 | ¦ | [14 empty] | ¦ | 2.7 - 2.5 | 2.559 | 0.00061585 | 0.053919 | 0.96266 | 16.3551 | ¦
|  |  |  | ¦ | 0.9121 | 695.1119 | 18.281 | 02:33 |  | ¦ |  |  |  |  | ¦ | [9 empty] | ¦ | 0.54065 | 0.68165 | 8.8892 |  | ¦ |  |  |  |  | ¦ | 3.0 - 2.8 | 2.869 | 0.00064552 | 0.054505 | 0.89999 | 14.538 | ¦ | [14 empty] | ¦ | 2.5 - 2.3 | 2.3651 | 0.0005965 | 0.054515 | 1.0088 | 17.3639 | ¦
|  |  |  | ¦ | 0.87413 | 666.19 | 15.7073 | 02:36 |  | ¦ | [14 empty] | ¦ | 0.57574 | 0.71485 | 9.2253 |  | ¦ |  |  |  |  | ¦ | 2.8 - 2.6 | 2.6806 | 0.0005685 | 0.055073 | 0.84833 | 15.3863 | ¦ | [14 empty] | ¦ | 2.3 - 2.1 | 2.1828 | 0.00062037 | 0.055136 | 1.1368 | 18.5007 | ¦
|  |  |  | ¦ | 0.83723 | 638.0731 | 14.1367 | 02:38 |  | ¦ | [14 empty] | ¦ | 0.61109 | 0.75124 | 9.5892 |  | ¦ |  |  |  |  | ¦ | 2.6 - 2.4 | 2.5022 | 0.00059513 | 0.055668 | 0.95136 | 16.3377 | ¦ | [14 empty] | ¦ | 2.1 - 1.9 | 2.0092 | 0.0005486 | 0.055684 | 1.0922 | 19.5929 | ¦
|  |  |  | ¦ | 0.80297 | 611.9728 | 13.0653 | 02:41 |  | ¦ | [14 empty] | ¦ | 0.64571 | 0.79036 | 9.9911 |  | ¦ |  |  |  |  | ¦ | 2.4 - 2.3 | 2.3319 | 0.00049661 | 0.056165 | 0.85185 | 17.1896 | ¦ | [14 empty] | ¦ | 1.9 - 1.8 | 1.8415 | 0.00052651 | 0.056211 | 1.1436 | 20.7365 | ¦
|  |  |  | ¦ | 0.78626 | 599.251 | 12.5901 | 02:44 |  | ¦ | [14 empty] | ¦ | 0.68018 | 0.8335 | 10.4343 |  | ¦ |  |  |  |  | ¦ | 2.3 - 2.1 | 2.1659 | 0.00053581 | 0.056701 | 0.98952 | 18.1791 | ¦ | [14 empty] | ¦ | [6 empty] | ¦
|  |  |  | ¦ | 0.75068 | 572.1428 | 11.7959 | 02:46 |  | ¦ | [14 empty] | ¦ | 0.71569 | 0.88338 | 10.9415 |  | ¦ |  |  |  |  | ¦ | 2.1 - 1.9 | 2.001 | 0.00052769 | 0.057228 | 1.0548 | 19.2339 | ¦ | [14 empty] | ¦ | [6 empty] | ¦
|  |  |  | ¦ | 0.71626 | 545.9176 | 11.1268 | 02:49 |  | ¦ | [14 empty] | ¦ | 0.75085 | 0.93965 | 11.5243 |  | ¦ |  |  |  |  | ¦ | 1.9 - 1.8 | 1.8303 | 0.00047534 | 0.057704 | 1.0388 | 20.2727 | ¦
|  |  |  | ¦ | 0.68098 | 519.0363 | 10.5225 | 02:52 |  | ¦ | [14 empty] | ¦ | 0.78582 | 1.0044 | 12.2023 |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦
|  |  |  | ¦ | 0.6458 | 492.2312 | 9.9867 | 02:54 |  | ¦ | [14 empty] | ¦ | 0.82036 | 1.0798 | 13.0243 |  | ¦ |  |  |  |  | ¦ | [6 empty] | ¦
|  |  |  | ¦ | 0.60918 | 464.329 | 9.4907 | 02:57 |  | ¦ | [14 empty] | ¦ | 0.85544 | 1.1722 | 14.0612 |  | ¦
|  |  |  | ¦ | 0.57551 | 438.6721 | 9.0764 | 02:59 |  | ¦ | [14 empty] | ¦ | 0.89035 | 1.2872 | 15.4348 |  | ¦
|  |  |  | ¦ |  |  |  | 03:01 | 762.238 | ¦ | [14 empty] | ¦ | 0.92526 | 1.4371 | 17.5545 |  | ¦
|  |  |  | ¦ | 0.53921 | 411.0051 | 8.6103 | 03:04 |  | ¦ | [14 empty] | ¦ | 0.95861 | 1.6346 | 21.8464 |  | ¦
|  |  |  | ¦ | 0.50496 | 384.8988 | 8.2171 | 03:06 |  | ¦ | [14 empty] | ¦ | 0.98807 | 1.8889 | 36.9117 |  | ¦
|  |  |  | ¦ | 0.45092 | 343.7062 | 7.5831 | 03:08 |  | ¦ | [14 empty] | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | 0.41575 | 316.9024 | 7.1748 | 03:11 |  | ¦ | [14 empty] | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | 0.3808 | 290.2567 | 6.8324 | 03:13 |  | ¦ | [14 empty] | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | 0.34571 | 263.5154 | 6.4882 | 03:15 |  | ¦
|  |  |  | ¦ | 0.31072 | 236.8461 | 6.1489 | 03:18 |  | ¦
|  |  |  | ¦ | 0.27578 | 210.2082 | 5.8149 | 03:20 |  | ¦
|  |  |  | ¦ | 0.24078 | 183.534 | 5.4715 | 03:23 |  | ¦
|  |  |  | ¦ | 0.20578 | 156.854 | 5.1411 | 03:25 |  | ¦
|  |  |  | ¦ | 0.1708 | 130.187 | 4.8063 | 03:28 |  | ¦
|  |  |  | ¦ | 0.13581 | 103.5186 | 4.4663 | 03:31 |  | ¦
|  |  |  | ¦ | 0.10247 | 78.1097 | 4.1229 | 03:35 |  | ¦
|  |  |  | ¦ | 0.072673 | 55.3942 | 3.8128 | 03:38 |  | ¦
|  |  |  | ¦ | 0.050165 | 38.238 | 3.5089 | 03:42 |  | ¦
|  |  |  | ¦ | [5 empty] | ¦
|  |  |  | ¦ | [5 empty] | ¦