## CC in vitro
HPLC Method |  |  |  |  | HPLC Method |  |  |  |  | D3
D3 |  |  |  |  | D3 |  |  |  |  | mobile phase | 0-5: MeOH:0.1%TFA 70:30;5-10: -> 100% MeOH;10-25: 100% MeOH; 25-30: -> 70:300;30-35: 70:30
mobile phase | 100% ACN |  |  |  | mobile phase | 0-2: MeOH:H2O 80:20;2-5: -> 100% MeOH;5-19: 100% MeOH; 19-21: -> 80:20;21-26: 80:20 |  |  |  | flow rate | 1 mL/min
flow rate | 2 mL/min |  |  |  | flow rate | 1 mL/min |  |  |  | injection volume | 100 microliter
injection volume | 100 microliter |  |  |  | injection volume | 100 microliter |  |  |  | column temp. | not controlled
column temp. | not controlled |  |  |  | column temp. | not controlled |  |  |  | wavelenght | 265nm
wavelenght | 265nm |  |  |  | wavelenght | 265nm |  |  |  | retention time
retention time | 2.5, 3.6, 11.3 |  |  |  | retention time | 8.5, 9.5, 16; ?, 6.7, 10.2 |  |  |  | column | C18+guard column
column | C18+guard column |  |  |  | column | C18+guard column
VitD3 |  | 5.1 | LOD | 0.020164 | VitD3 |  | 10.6 | LOD | 0.064819
conc. (µM) | Area | 5.3 |  |  | conc. (µM) | Area | 10.5
0.1 | 5.2 | 5.2 |  |  | 0.1 | 10.3667 | 10
1 | 49 |  |  |  | 1 | 100.1
10 | 488.9 |  |  |  | 10 | 988
20 | 988.1 |  |  |  | 20 | 2002.1
50 | 2482.6 |  |  |  | 50 | 5063.7
25(OH)-VitD3 |  | 3.9 | LOD | 0.028263 | 25(OH)-VitD3 |  | 7.9
conc. (µM) | Area | 3.9 |  |  | conc. (µM) | Area | 7.7
0.1 | 3.8333 | 3.7 |  |  | 0.1 | 7.7333 | 7.6
1 | 40.5 |  |  |  | 1 | 79
10 | 402.6 |  |  |  | 10 | 793.7
20 | 813.1 |  |  |  | 20 | 1599.8
50 | 2045.6 |  |  |  | 50 | 4058.3
1a,25(OH)2-VitD3 |  | 3.7 | LOD | 0.015376 | 1a,25(OH)2-VitD3 |  | 8.5
conc. (µM) | Area | 3.7 |  |  | conc. (µM) | Area | 8.7
0.1 | 3.7333 | 3.8 |  |  | 0.1 | 8.5 | 8.3
1 | 36.5 |  |  |  | 1 | 79.8
10 | 369 |  |  |  | 10 | 758.5
20 | 748.1 |  |  |  | 20 | 1561.7
50 | 1879.9 |  |  |  | 50 | 3853.6

## pre-test
Tissue | weight (mg) | UPW added (µL) | Total weight (mg) | Sample vol. (µL) | Sample weight (mg) | Spiking amount (nmol) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | Amount detected (nmol) | Recovery (%) |  |  | Tissue | Spiking amount (nmol) | D3 amount (nmol) | (OH)D3 amount (nmol) | (OH)2D3 amount (nmol) | Recovery (%)
plasma | / | / | / | 200 | / | 50 | 1346.3 | / | / | 27.147 | 4.072 | 0.081441 |  |  | Plasma | 50 | 4.072 | / | / | 8.1441
[17 empty] | 0 |  |  | 0
Brain | 405.07 | 500 | 905.07 | 400 | 160 | 50 | 756.8 | / | / | 15.2602 | 2.289 | 0.045781 |  |  | Brain | 50 | 2.289 | / | / | 4.5781
[17 empty] | 0 |  |  | 0
Spleen | 81.98 | 300 | 381.98 | 200 | 150.4 | 50 | 3608.4 | / | / | 72.7603 | 10.914 | 0.21828 |  |  | Spleen | 50 | 10.914 | / | / | 21.8281
[17 empty] | 0 |  |  | 0
Liver | 892.8 | 2000 | 2892.8 | 200 | 202.5 | 50 | 332.5 | 85.8 | 35.5 | 9.7501 | 1.4625 | 0.02925 |  |  | Liver | 50 | 1.0057 | 0.31501 | 0.14216 | 2.925
[5 empty] | 192.5 | 5 | 56.4 | 84.4 | 40.9 | 4.2923 | 0.64384 | 0.12877 |  |  |  | 5 | 0.17059 | 0.30987 | 0.16378 | 12.8769
[6 empty] | 35 | 148.8 |  |  | 3.0061 | 0.45091 | 0.012883 |  |  |  | 35 | 0.45006 | / | / | 1.2883
[17 empty] | 0 |  |  | 0
Kidney | 268.14 | 500 | 768.14 | 200 | 168.8 | 50 | 704.8 | / | / | 14.2117 | 2.1318 | 0.042635 |  |  | Kidney | 50 | 2.1318 | / |  | 4.2635
[5 empty] | 160.1 | 5 | 77.3 | / | / | 1.5587 | 0.2338 | 0.046761 |  |  |  | 5 | 0.2338 | / |  | 4.6761
[17 empty] | 0 |  |  | 0
Lung | 134.01 | 500 | 434.01 | 200 | 178.6 | 50 | 950.2 | 17.5 |  | 19.5883 | 2.9382 | 0.058765 |  |  | Lung | 50 | 2.874 | 0.06425 | / | 5.8765
[5 empty] | 164.6 | 5 | 121.8 | 29.7 |  | 3.1829 | 0.47744 | 0.095488 |  |  |  | 5 | 0.3684 | 0.10904 | / | 9.5488
Tissue | Tissue vol. (µL) | Spiking area | Spiking amout (nmol) | Load |  |  |  | Wash |  |  |  | Elute |  |  |  | Amount dtected (nmol)
|  |  |  | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) |  | Recovery
liver | 200 | 2182.4 | 44.0062 | / | / | / | / | / | / | / | / | 115.9 | 66.6 | 80.9 | 6.1325 | 0.91988 | 0.020903
UPW | 200 | 2182.4 | 44.0062 | / | / | / | / | / | / | / | / | 9191.5 | / | / | 185.3387 | 27.8008 | 0.63175
New method using ACN
Tissue | Tissue vol. (µL) | Spiking area | Spiking amout (nmol) | Load |  |  |  | Wash |  |  |  | Elute |  |  |  | Amount dtected (nmol)
|  |  |  | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) |  | Recovery
liver | 200 | 1758.1 | 35.4506 | / | / | 25.4 | 0.67645 | / | / | / | / | 92.1 | 50.8 | 36.9 | 4.0915 | 0.61372 | 0.017312
Plasma | 200 | 1758.1 | 35.4506 | / | / | / | / | / | / | / | / | 2114.4 | / | / | 42.635 | 6.3953 | 0.1804
Dilute the sample
Tissue | Tissue vol. (µL) | Spiking area | Spiking amout (nmol) | Load |  |  |  | Wash |  |  |  | Elute |  |  |  | Amount dtected (nmol)
|  |  |  | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) |  | Recovery
liver | 200 | 3678.1 | 74.1657 | / | 1380.4 | / | 33.787 | / | / | / | / | 124.8 | 374.5 | / | 11.7438 | 3.5231 | 0.047504
Plasma | 200 | 3678.1 | 74.1657 | 1387.9 | / | / | 27.9858 | / | / | / | / | 2847.3 | / | / | 57.4133 | 22.9653 | 0.30965
ACN+Ethyl Acetate
Tissue | Tissue vol. (µL) | Spiking area | Spiking amout (nmol) | Load |  |  |  | Wash |  |  |  | Elute |  |  |  | Amount dtected (nmol)
|  |  |  | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) |  | Recovery
liver | 200 | 8008 | 161.4744 | 76.7 | / | / | 1.5466 | 5.7 | / | / | 0.11494 | 156.2 | / | / | 3.1496 | 1.8898 | 0.011703
Plasma | 200 | 8008 | 161.4744 | / | / | / | / | 15.8 | / | / | 0.31859 | 1566.1 | / | / | 31.5791 | 25.2632 | 0.15645
0.1%H3PO4 for sample pretreat, 2xelute (4x100 µL, 2x200µL)
Tissue | Tissue vol. (µL) | Spiking area | Spiking amout (nmol) | Load |  |  |  | Wash |  |  |  | Elute |  |  |  | Amount dtected (nmol)
|  |  |  | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) |  | Recovery
liver | 200 | 8012 | 161.5551 | / | / | / | / | / | / | / | / | 120.3 | / | / | 2.4257 | 1.4554 | 0.009009
Plasma | 200 | 8012 | 161.5551 | / | / | / | / | / | / | / | / | 1117.8 | / | / | 22.5395 | 18.0316 | 0.11161
[12 empty] | Elute2 |  |  |  | Amount dtected (nmol)
[12 empty] | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) |  | Recovery
[12 empty] | 40.4 | / | / | 0.81463 | 0.48878 | 0.0030255
[12 empty] | 533.3 | / | / | 10.7535 | 8.6028 | 0.05325
Test for extraction (100µL out of 300µL supernatant)
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
liver | 200 | 2393.1 | 7.8949 | 4.1667 | 154.8 | 90.4 | 0.22899 | 0.16753
plasma | 200 | 2393.1 | 7.8949 | 4.1667 | 89.5 | 318.9 | 0.1324 | 0.59099
Extraction
New method-1 (ACN+SDS)
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
plasma | 200 | 5147.3 | 50.7623 | / | 1212.8 | / | 20.931 | / | 0.41233
no N2 |  |  |  |  | 1517.4 |  | 26.1879 |  | 0.51589
Tissue | Tissue vol. (µL) | Spiking area | Spiking amout (nmol) | Load |  |  |  | Wash |  |  |  | Elute |  |  |  | Amount dtected (nmol)
|  |  |  | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) |  | Recovery
plasma | 200 |  | 7.4822 | / | / | / | / | 87.4 | / | / | 1.7239 | 411.7 | / | / | 8.1203 | 1.218 | 0.16279
New method 2 (hexane)
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3 | recovery
plasma | 200 | 5147.3 | 50.7623 | / | 993.5 | / | 24.4946 | / | 0.48253
no N2 |  |  |  |  | 1184.9 |  | 29.2135 |  | 0.5755
New method 3 (MeOH, ACN, SDS )
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
plasma | 200 | 2664 | 52.5444 | / | 699.2 | / | 20.6864 | / | 0.39369
New method 4 (MeOH, IPA, SDS )
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
plasma | 150 | 2664 | 52.5444 | / | 1259.2 | / | 29.8036 | / | 0.56721
Tissue | Tissue vol. (µL) | Spiking area | Spiking amout (nmol) | Load |  |  |  | Wash |  |  |  | Elute |  |  |  | Amount dtected (nmol)
|  |  |  | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) |  | Recovery
plasma | 150 |  | 14.9018 | 2071.9 | / | / | 40.8659 | 110.5 | / | / | 2.1795 | 197.5 | / | / | 3.8955 | 0.77909 | 0.052282
New method 5 (EtOH, H2O, Hexane )
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
plasma | 100 | 2110.9 | 0.10446 | / | 31.5 | / | 0.093527 | / | 0.89535
Tissue | Tissue vol. (µL) | Spiking area | Spiking amout (nmol) | Load |  |  |  | Wash |  |  |  | Elute |  |  |  | Amount dtected (nmol)
|  |  |  | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) |  | Recovery
plasma | 100 | 68.5 | 0.067795 | / | / | / | / | / | / | / | / | 14 | / | / | 0.13856 | 0.027712 | 0.40876
Tissue | Tissue vol. (µL) | Spiking area | Spiking amout (nmol) | Load |  |  |  | Wash |  |  |  | Elute |  |  |  | Amount dtected (nmol)
|  |  |  | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) | D3 HPLC area | (OH)D3 area | (OH)2D3 area | Conc. detected (µM) |  | Recovery
plasma | 100 |  | 0.046764 | 22.4 | / | / | 0.22169 | / | / | / | / |  | / | / | 0 | 0 | 0
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
liver | 100 | 87.4 | 0.4325 | / | 108.6 | / | 0.32245 | / | 0.74554
New method 5 (EtOH, H2O, Hexane )
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
plasma | 200 | 3794.4 | 0.37553 | / | 220.9 | / | 0.32794 | / | 0.87326
lung | 200 | 3794.4 | 0.37553 |  | 38.8 |  | 0.057601 |  | 0.15338
spleen | 200 | 3794.4 | 0.37553 |  | 57.2 |  | 0.084917 |  | 0.22612
kidney | 200 | 3794.4 | 0.37553 |  | 220.4 |  | 0.3272 |  | 0.87128
brain | 200 | 3794.4 | 0.37553 |  | 137.1 |  | 0.20353 |  | 0.54198
liver | 200 | 3794.4 | 0.37553 |  | 80.7 |  | 0.1198 |  | 0.31902
New method 7 (E-5, 2 extraction )
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
liver | 200 | 3794.4 | 0.37553 |  | 128.5 |  | 0.19077 |  | 0.50799
New method 8 (E-5, more Hexane & EtOH )
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
liver | 200 | 3794.4 | 0.37553 |  | 223.5 |  | 0.3318 |  | 0.88354
brain | 200 | 3794.4 | 0.37553 |  | 87.4 |  | 0.12975 |  | 0.34551
New method 9 (E-5, h2o --> 30% KOH )
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
liver |  | 3794.4 | 0.37553 |  | 201.2 |  | 0.29869 |  | 0.79538
brain |  | 3794.4 | 0.37553 |  | 223.1 |  | 0.33121 |  | 0.88196
SPE
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
liver |  | 4276.9 | 0.42329 |  | 74 |  | 0.21971 |  | 0.51907
[5 empty] | 21.8 |  | 0.064727
brain |  | 4276.9 | 0.42329 |  | 94.2 |  | 0.27969 |  | 0.66076
/
Fixed Extraction
NO SPE
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
FBS | 200 | 3416.7 | 0.33695 |  | 207.6 |  | 0.3071 |  | 0.91141
SPE-1
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
FBS | 200 | 3416.7 | 0.33695 |  | 0 |  | 0 |  | 0
SPE-2
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
FBS | 200 | 3416.7 | 0.33695 |  | 135.3 |  | 0.20015 |  | 0.59399
SPE-3
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
FBS | 200 | 3416.7 | 0.33695 |  | 166.2 |  | 0.24586 |  | 0.72965
Fixed Extraction
NO SPE
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
Liver | 200 | 3257.1 | 0.32121 |  | 182.2 |  | 0.26953 |  | 0.83909
Brain | 200 | 3257.1 | 0.32121 |  | 218.8 |  | 0.32367 |  | 1.0076
SPE-2
Tissue | Tissue vol. (µL) | Spiking area for D3 | Spiking amout (nmol) |  | Area detected |  | Amount detected(nmol)
|  |  | D3 | (OH)D3 | D3 | (OH)D3 | D3 | (OH)D3
Liver | 200 | 3257.1 | 0.32121 |  | 89.4 |  | 0.13225 |  | 0.41172
Brain | 200 | 3257.1 | 0.32121 |  | 96.3 |  | 0.14246 |  | 0.44349