## Slide 1: A Phantom-less BMD Technique for Osteoporosis Screening, the Basic Theory and Subsequent Validation Strategy
YANG Kedi
Supervisors: Dr W.P. Ip &Pro. William Lu
Mar. 26. 2020

## Slide 2: Osteoporosis 千里之堤潰於蟻穴
Chart: Population in Hong Kong
| Total Population in HK | Population Above 65 years old
Sales | 700 | 120
1.266 Million > 65 Years Old
7.451
Million
Total
Population
Health Facts of Hong Kong 2019 Edition
https://www.dh.gov.hk/english/statistics/statistics_hs/files/Health_Statistics_pamphlet_E.pdf

## Slide 3: X-Ray Dual Energy X-Ray Absorptiometry Computed Tomography

## Slide 4
Current Gold Standard (since 1994): DEXA
(Dual Energy X-Ray Absorptiometry)

## Slide 5: Overview of -Quantitative Computerized Tomography
Clinical Use of Quantitative Computerizedd Tomography
-- 2007 ISCD Official Position
（The International Society of Clinical Densitometry）
Clinical Use of Quantitative Computerizedd Tomography
-- 2015 ISCD Official Position
(The International Society of Clinical Densitometry)
中国定量QCT骨质疏松症诊断指南（2018）
-- (The China Big Health data)
Diagnosis | BMD Range (mg/cc)
Normal | >120
Osteopenia | 80~120
Osteoporosis | <80
QCT as a screening tool for osteoporosis diagnosis

## Slide 6: Overview of -Quantitative Computerized Tomography
Alternatives
Advantages
Cross-section view
Tissue Contrast
High-Resolution Image
High quantitative and qualitative precision
Bone Mineral Density Determination

## Slide 7: Overview of -Quantitative Computerized Tomography
CT Value
Calculation
BMD Value
Phantom (Hydroxyapatite)
Reference1 (Darker): 0 mg/cc
Reference2 (Whiter): 200 mg/cc

## Slide 8: Overview of -Quantitative Computerized Tomography
BMD
Value
Phantom (Hydroxyapatite)
Reference1 (Darker): 0 mg/cc
Reference2 (Whiter): 200 mg/cc
Disadvantages of Phantom-based CT:
External Phantom causes the beam hardening and extra scattering.

## Slide 9: State of Art -Phantom-Less QCT Technique
Cross-section of abdominal segment showing L3 vertebra with different coloured tissues.
Ceniccola G.D., et al, 2018. Current technologies in body composition assessment: advantages and disadvantages
Marie Ø., et al, 2014. Contemporary methods of body composition measurement
Muscle CT Scale:
+30 to +100
Subcutaneous adipose CT Scale:
-190 to -30

## Slide 10: State of Art -Phantom-Less Technique
Self - reference
Muscle CT value
Fat
CT Value
Output
Vertebral BMD
No. of Pixels
HU value
Peak value
L2 vertebra
L5 vertebra

## Slide 11: Validation Strategy -- Phantom-Less BMD V.S. Phantom-Based BMD in Accuracy and Precision

## Slide 12: Clinical Validation Strategy
1. Literature Review
2. Study Design
3. Data Acquisition
4. Imaging Analysis
5. Data Analysis

## Slide 13: Clinical Validation Strategy
1. Literature Review
2. Study Design
3. Data Acquisition
4. Imaging Analysis
5. Data Analysis
1.1. Supporting Evidence
1.2. Acceptance Criteria

## Slide 14: Validation Criteria -- Literature Review
Literatures
Guidance
Standards
Database
Keywords
Inclusive
Criteria
Accuracy Criteria:
Bias (average difference) between Phantom-less BMD and Phantom-based BMD is smaller than 10 mg/cc;
Precision Criteria:
Coefficient of Variation (CV%) of the Phantom-less BMD is less than CV%=3.6%;

## Slide 15: Clinical Validation Strategy
1. Literature Review
2. Study Design
3. Data Acquisition
4. Imaging Analysis
5. Data Analysis
2.1. Patient Population
2.2. Cross-sectional Study
2.3. Longitudinal Study

## Slide 16: Patient Population
Eligibility Criteria
Age: >55 years old
Estimated Enrolment: 60 Patients
Sexes: Female + Male
Target of Interest: L1-L5
NO vertebrae compression fracture

## Slide 17
Cross-sectional Study (Short-Term)
+
Interobserver Variability
Phantom-Based BMD
Phantom-Less BMD
Image Source:
https://www.onhealth.com/content/1/low_back_pain_relief
Cross-sectional Study
Investigator 1
Investigator 2

## Slide 18: Clinical Validation -- Longitudinal Analysis
Time Point 1
1st CT Scan
Time Point 2
2nd CT Scan
Patient
Bias, Standard Deviation, and Coefficient of Variation

## Slide 19: Clinical Validation Strategy
1. Literature Review
2. Study Design
3. Data Acquisition
4. Imaging Analysis
5. Data Analysis
3.1. Screening Parameters

## Slide 20: Clinical Validation Strategy
1. Literature Review
2. Study Design
3. Data Acquisition
4. Imaging Analysis
5. Data Analysis
4.1. Multi-investigators
4.2 Analysis Protocol

## Slide 21: Clinical Validation Strategy
1. Literature Review
2. Study Design
3. Data Acquisition
4. Imaging Analysis
5. Data Analysis
5.1. Statistical Analysis

## Slide 22: Clinical Validation -- Preliminary Cross-sectional Study (Short-Term)
Details of BMD Analysis | Patient 1 | Patient 2 | Patient 3
Phantom- Based BMD (mg/cc) | 30 | 63 | 93
Phantom-Less BMD (mg/cc) | 27 | 53 | 99
Between-method differences (mg/cc) | 3 | 10 | 6
Screening Parameters | Siemens Somatom Scanner 120 kV, 169 ms 10 mm thickness 2 x 5.0 mm collimator |  | 

## Slide 23: Limitations -- Based on preliminary study
Heterogeneous CT value distribution of region of interest.
2. Scanning and analysis protocol.

## Slide 24: Thank you! Q & A