## Slide 1: Effects of Osteophytes on Vertebral Bone Mineral Density Measurement for Osteoporotic Diagnosis, Comparison between Phantom-less QCT and DEXA technique
Speaker: YANG Kedi
Supervisors: Dr W.P. Ip &Pro. William Lu
Contributions:
Yuanzhi Weng, Huan Qi, Marvin Ma, Zhang Cheng
Oct.07, 2021

## Slide 2: Osteoporosis 千里之堤潰於蟻穴
Chart: Population in Hong Kong
| Total Population in HK | Population Above 65 years old
Sales | 700 | 120
1.266 Million > 65 Years Old
7.451
Million
Total
Population
Health Facts of Hong Kong 2020 Edition
https://www.dh.gov.hk/english/statistics/statistics_hs/files/Health_Statistics_pamphlet_E.pdf

## Slide 3
Current Gold Standard (since 1994): DEXA
(Dual Energy X-Ray Absorptiometry)

## Slide 4
Clinical Use of Quantitative Computerizedd Tomography
-- 2007 ISCD Official Position
（The International Society of Clinical Densitometry）
Clinical Use of Quantitative Computerizedd Tomography
-- 2015 ISCD Official Position
(The International Society of Clinical Densitometry)
中国定量QCT骨质疏松症诊断指南（2018）
-- (The China Big Health data)
Diagnosis | BMD Range (mg/cc)
Normal | >120
Osteopenia | 80~120
Osteoporosis | <80
Quantiative Computed Tomography (QCT) as a screening tool for osteoporosis diagnosis

## Slide 5
Phantom-based QCT
Phantom-less QCT

## Slide 6
- “29.3% patients were found by QCT but not by DXA to have osteoporosis. All had degeneration of lumbar spine (Osteophytes)”.
Li N, Li XM, Xu L, Sun WJ, Cheng XG, Tian W. Comparison of QCT and DXA: osteoporosis detection rates in postmenopausal women. International Journal of Endocrinology. 2013 Mar 27;2013.
- “A total of 114 (36.4)% were diagnosed with osteoporosis by QCT but not by DXA. All had degeneration of lumbar spine (Osteophytes)”.
Xu XM, Li N, Li K, Li XY, Zhang P, Xuan YJ, Cheng XG. Discordance in diagnosis of osteoporosis by quantitative computed tomography and dual-energy X-ray absorptiometry in Chinese elderly men. Journal of orthopaedic translation. 2019 Jul 1;18:59-64.

## Slide 7
Osteophytes:
“Substantial Osteophytes can be found on at least 1 vertebral body in 25% of spines aged 20 to 29, and in 90% of spines aged over 60 years” - Al-Rawahi, Maimouna, et al, 2011
Reference: Wong, Siu Him Janus, Kwong Yuen Chiu, and Chun Hoi Yan. "osteophytes." Journal of Orthopaedic Surgery 24.3 (2016): 403-410.
Reference: Al-Rawahi, Maimouna, et al. "Mechanical function of vertebral body osteophytes, as revealed by experiments on cadaveric spines." Spine 36.10 (2011): 770-777.

## Slide 8
Objective:
The objective of this study was to investigate effect of osteophytes on vertebral BMD though regional BMD measurement method, and further compare osteoporotic diagnosis difference between DEXA and QCT within regional BMD analysis.
Aim 1:
To develop QCT technique for bone mineral density (BMD) evaluation.
Aim 2:
To develop Automatic algorithm for vertebral sub-regions segmation.
Aim 3:
To analyze the localized bone mienral density (BMD) and compare with DEXA.
Research Plan – Overview

## Slide 9
Aim 1: To develop QCT technique for bone mineral density (BMD) evaluation Research Question
How to quantify bone mineral density? To develop phantomless BMD evaluation algorithm.
What type of data shall be collected? Clinical CT Data
How to validate the algorithm? Compare with a predicate algorithm;
Objective-1

## Slide 10
Results
Aim 1: To develop QCT technique for bone mineral density (BMD) evaluation (QCT Validation, Shenzhen People's Hospital)
Retrospetive CT
64 patients,192 vertebrae
Bone's QCT Algorithm
Philips QCT Algorithm
BMD results
comparison
BlandAltman Analysis

## Slide 11
Aim 2: To develop Automatic algorithm for vertebral sub-regions segmation
Methodology

## Slide 12
Aim 3: To analyze the localized bone mienral density (BMD) and compare with DEXA
What is the localized bone mineral density? Trabecular BMD & Cortical BMD
How to collect the data? Clinical CT data
How to analyze the data? DEXA for Osteoporosis Check QCT for Osteoporosis Check Osteophytes Check Localized BMD Check
Objective-3

## Slide 13
Methodology
Overall Bone Mineral Density Evaluation (DEXA & QCT)
Retrospetive CT Data Collection
DEXA Osteoporosis Check Results：
Positive or Negative
Bone’s QCT Osteoporosis Check：
Positive or Negative
Osteophytes Check in all vertebrae:
Postive or Negative
QCT Localized BMD Assessment in Osteophyte Positive/Negative Group：
Trabecular BMD
Cortical BMD
1.
Inclusive/Exclusive Criteria
(51 patients were recuited, 37 patitents and 82 vertebrae were finally tested)
2.
DEXA Osteoporosis Diagnosis：T-Score < -2.5
QCT Osteoporosis Diagnosis：
BMD < 80 mg/cc
3.
Overall Diagnositic Difference：DEXA V.S. QCT；
Diagnositic Difference of Osteophytes：DEXA V.S. QCT
4.
Localized BMD in Osteophytes positive/negative group
Trabecular BMD
Cortical BMD

## Slide 14
Aim 3: To analyze the localized bone mienral density (BMD) and compare with DEXA
Methodology
Chart: DEXA T-score VS QCT BMD (Overall, n=82)

## Slide 15
Aim 3: To analyze the localized bone mienral density (BMD) and compare with DEXA
Methodology

## Slide 16
Aim 3: To analyze the localized bone mienral density (BMD) and compare with DEXA
Methodology

## Slide 17
Aim 3: To analyze the localized bone mienral density (BMD) and compare with DEXA
Methodology

## Slide 18: Conclusions
1. Osteophytes increase the cortical bone mineral density region, not the trabecular regions.
2. QCT can evaluate localized bone mineral density, DEXA assess overall spinal bone mineral density.
3. DEXA has a higher False Negative rate on osteoporosis diagnosis, compare to QCT.

## Slide 19: Thank you! Q & A