**Operation of Quanteon Flowcytometry**

**For Cell Cycle**

Untick all – only PI

For testing use 10 uL

Event /sec < 200

**Running Sample**

1. Go F: Drive – open Cell Cycle Template
2. Drag A1: Sample 1 to [1: Specimen 1]
3. Box [Apply to All]
4. Load sample
5. Run Single well
6. Run Plate
7. Drag Plate 2 to Plate 8 (ML2)

**Save file**

1. Press ‘Save’ button
2. Go F: Drive -> User->Med->kennydcc
3. Save the file NAME

**Cleaning after Running**

1. Go login Cleaning-> use Corefac Acc
2. Group: Orgaization

Username: 0cleaning

1. Drag the 3 samples and click run